## GM Feb Report
| Date: | 2016-03-01
| Project | Actual Production | Budgeted Production | IPR% | WPR%
| Erie Ridge | 0 | 1137388.3195 | 0% | 0%
| Sandhurst | 0 | 1322679.5929 | 0% | 0%
| Rutley | 0 | 1399738.3597 | 0% | 0%
| Norfolk | 0 | 1293757.5213 | 0% | 0%
| Hwy 2 S | 0 | 1395499.2523 | 0% | 0%
| Odessa | 0 | 1361643.4322 | 0% | 0%
| Newboro 4 | 0 | 1858595.365 | 0% | 0%
| Newboro 1 | 0 | 1852568.981 | 0% | 0%
| Welland | 0 | 1468177.6209 | 0% | 0%
| Bruining | 0 | 1818147.7383 | 0% | 0%
| Alfred | 0 | 1557346.4658 | 0% | 0%
| Unity | 0 | 1476342.0446 | 0% | 0%
FIRELIGHT GROUNDMOUNTS PRELIMINARY REPORT: FEBRUARY 2017
| Project | Month-Year | Insolation |  | Energy Production | [7 empty] | Performance
|  |  | Actual | Reference | Measured | Measured | Expected | Reference | Variance | Fit Rate | Variance | Revenue | Actual/Expected | Actual/Budget | Weather Performance
|  |  | [kWh/m2] | [kWh/m2] | [kWh] | [kWh] | [kWh] | [kWh] | [kWh] | [$] | [$] | [$] | [%] | [%] | [%]
|  | A | H | I | HONI Web Meter | NW |  | B
1 | SunE Erie Ridge | 2017-02-01 | 89.3 | 90.1 | 749411 | 749411 | 614044.9119 | 619545.8742 | 129865.1258 | 0.42 | 54543.3528 | 314752.62 | 122% | 121% | 99.11%
2 | SunE Rutley | 2017-02-01 | 79.8362 | 95.8 | 697321.19 | 698804.582 | 633237.6809 | 759857.9667 | -62536.7767 | 0.443 | -27703.7921 | 308913.2872 | 110.1% | 91.77% | 83.34%
3 | SunE Sandhurst | 2017-02-01 | 81.1338 | 88.4 | 720002.4 | 753965.99 | 640999.4981 | 698406.0387 | 21596.3613 | 0.42 | 9070.4717 | 302401.008 | 112.3% | 103.1% | 91.78%
4 | SunE Norfolk | 2017-02-01 | 88.1822 | 81.5 | 971280.23 | 973541.26 | 828025.7147 | 765280.6767 | 205999.5533 | 0.443 | 91257.8021 | 430277.1419 | 117.3% | 126.9% | 108.2%
5 | SunE Hwy 2 S | 2017-02-01 | 83.0896 | 108 | 825055.66 | 823607.5723 | 795780.9532 | 1034357.6633 | -209302.0033 | 0.443 | -92720.7875 | 365499.6574 | 103.7% | 79.77% | 76.93%
6 | SunE Odessa | 2017-02-01 | 87.581 | 102.7 | 820755.7 | 819283.1175 | 811442.5444 | 951521.4132 | -130765.7132 | 0.443 | -57929.2109 | 363594.7751 | 101.1% | 86.26% | 85.28%
7 | SunE Alfred | 2017-02-01 | 93.0405 | 110.3 | 1038573.66 | 1029833.44 | 888313.4654 | 1053099.7895 | -14526.1295 | 0.443 | -6435.0754 | 460088.1314 | 116.9% | 98.62% | 84.35%
8 | SunE Unity | 2017-02-01 | 86.8075 | 94.6 | 901990.23 | 898870.348 | 932546.8287 | 1016259.1195 | -114268.8895 | 0.443 | -50621.118 | 399581.6719 | 96.72% | 88.76% | 91.76%
9 | Newboro 4 | 2017-02-01 | 89.637 | 107.6 | 1051085.506 | 1051085.506 | 1175374.093 | 1410916.1811 | -359830.6751 | 0.443 | -159404.9891 | 465630.8792 | 89.43% | 74.5% | 83.31%
10 | Newboro 1 | 2017-02-01 | 88.0257 | 107.6 | 1100816.12 | 1103415.8745 | 1150683.6793 | 1406562.2748 | -305746.1548 | 0.443 | -135445.5466 | 487661.5412 | 95.67% | 78.26% | 81.81%
11 | Welland | 2017-02-01 | 92.318 | 81.3 | 1174299 | 1175825.12 | 1094276.1523 | 963676.3176 | 210622.6824 | 0.443 | 93305.8483 | 520214.457 | 107.3% | 121.9% | 113.6%
12 | Bruining | 2017-02-01 | 86.9519 | 107 | 958690.75 | 959626.042 | 924628.2025 | 1137814.9183 | -179124.1683 | 0.443 | -79352.0065 | 424700.0023 | 103.7% | 84.26% | 81.26%
| Total |  | 1045.9033 | 1174.9 | 11009281.446 | 11037269.8523 | 10489353.7245 | 11817298.2335 |  |  | -361435.0511 | 4843315.1724 | 105% | 93.16% | 88.76%
Notes: 2) Hwy 2 S: a. Oct. 2: inverter 6C went offline due to fault. Site tech replaced and torqued the loosefan wiring 3) Norfolk: a. Oct. 6: Main AC breaker opened caused by the auto reclosure of the Norfolk TS. 4) Rutley: a. On going: Pile remediation work in progress. Trackers were sequentially stalled to give access to workers. 5) Alfred: a. Oct. 24-28: Inverters were underperforming because the EPC contractors on site were mapping and labeling the devices. 6) Actual Production and Insolation measurements were taken from SCADA.

## GM Jan Report (hidden)
| Date: | 2016-03-01
| Project | Actual Production | Budgeted Production | IPR% | WPR%
| Erie Ridge | 0 | 1137388.3195 | 0% | 0%
| Sandhurst | 0 | 1322679.5929 | 0% | 0%
| Rutley | 0 | 1399738.3597 | 0% | 0%
| Norfolk | 0 | 1293757.5213 | 0% | 0%
| Hwy 2 S | 0 | 1395499.2523 | 0% | 0%
| Odessa | 0 | 1361643.4322 | 0% | 0%
| Newboro 4 | 0 | 1858595.365 | 0% | 0%
| Newboro 1 | 0 | 1852568.981 | 0% | 0%
| Welland | 0 | 1468177.6209 | 0% | 0%
| Bruining | 0 | 1818147.7383 | 0% | 0%
| Alfred | 0 | 1557346.4658 | 0% | 0%
| Unity | 0 | 1476342.0446 | 0% | 0%
FIRELIGHT GROUNDMOUNTS PRELIMINARY REPORT: JANUARY 2017
| Project | Month-Year | Insolation |  | Energy Production | [7 empty] | Performance
|  |  | Actual | Reference | Measured | Measured | Expected | Reference | Variance | Fit Rate | Variance | Revenue | Actual/Expected | Actual/Budget | Weather Performance
|  |  | [kWh/m2] | [kWh/m2] | [kWh] | [kWh] | [kWh] | [kWh] | [kWh] | [$] | [$] | [$] | [%] | [%] | [%]
|  | A | H | I | HONI Web Meter | NW |  | B
1 | SunE Erie Ridge | 2017-01-01 | 39.2849 | 66 | 310560 | 310560 | 286985.3989 | 482146.0651 | -171586.0651 | 0.42 | -72066.1473 | 130435.2 | 108.2% | 64.41% | 59.52%
2 | SunE Rutley | 2017-01-01 | 51.0721 | 62.5 | 510635.16 | 512053.55 | 453535.1967 | 555018.2067 | -44383.0467 | 0.443 | -19661.6897 | 226211.3759 | 112.6% | 92% | 81.72%
3 | SunE Sandhurst | 2017-01-01 | 49.8151 | 61.9 | 356626.2 | 397593.1 | 387786.2608 | 481861.1496 | -125234.9496 | 0.42 | -52598.6788 | 149783.004 | 91.96% | 74.01% | 80.48%
4 | SunE Norfolk | 2017-01-01 | 46.8658 | 65.2 | 513393.67 | 515044.71 | 401319.7161 | 558317.978 | -44924.308 | 0.443 | -19901.4684 | 227433.3958 | 127.9% | 91.95% | 71.88%
5 | SunE Hwy 2 S | 2017-01-01 | 61.1952 | 83.4 | 555645.11 | 554893.535 | 540613.8738 | 736776.9939 | -181131.8839 | 0.443 | -80241.4246 | 246150.7837 | 102.8% | 75.42% | 73.38%
6 | SunE Odessa | 2017-01-01 | 61.5966 | 73.8 | 519301.24 | 518336.498 | 526254.4676 | 630514.6927 | -111213.4527 | 0.443 | -49267.5596 | 230050.4493 | 98.68% | 82.36% | 83.46%
7 | SunE Alfred | 2017-01-01 | 67.7008 | 80.4 | 607993.77 | 601894.804 | 654048.6252 | 776733.8226 | -168740.0526 | 0.443 | -74751.8433 | 269341.2401 | 92.96% | 78.28% | 84.2%
8 | SunE Unity | 2017-01-01 | 63.0301 | 72.6 | 648639.84 | 647569.41 | 602525.3003 | 694006.944 | -45367.104 | 0.443 | -20097.6271 | 287347.4491 | 107.7% | 93.46% | 86.82%
9 | Newboro 4 | 2017-01-01 | 63.2129 | 84.4 | 827339.2 | 830448.07 | 813604.7052 | 1086300.3227 | -258961.1227 | 0.443 | -114719.7774 | 366511.2656 | 101.7% | 76.16% | 74.9%
10 | Newboro 1 | 2017-01-01 | 61.7859 | 84.4 | 821172.68 | 824242.66 | 792937.5212 | 1083159.1437 | -261986.4637 | 0.443 | -116060.0034 | 363779.4972 | 103.6% | 75.81% | 73.21%
11 | Welland | 2017-01-01 | 47.3793 | 61.7 | 632990.26 | 634769.19 | 599268.0916 | 780400.4535 | -147410.1935 | 0.443 | -65302.7157 | 280414.6852 | 105.6% | 81.11% | 76.79%
12 | Bruining | 2017-01-01 | 64.0877 | 82.4 | 829281.39 | 831761.329 | 734532.0337 | 944415.8338 | -115134.4438 | 0.443 | -51004.5586 | 367371.6558 | 112.9% | 87.81% | 77.78%
| Total |  | 677.0265 | 878.7 | 7133578.52 | 7179166.856 | 6793411.1914 | 8809651.6064 |  |  | -735673.4939 | 3144830.0018 | 105% | 80.97% | 77.11%
Notes: 2) Hwy 2 S: a. Oct. 2: inverter 6C went offline due to fault. Site tech replaced and torqued the loosefan wiring 3) Norfolk: a. Oct. 6: Main AC breaker opened caused by the auto reclosure of the Norfolk TS. 4) Rutley: a. On going: Pile remediation work in progress. Trackers were sequentially stalled to give access to workers. 5) Alfred: a. Oct. 24-28: Inverters were underperforming because the EPC contractors on site were mapping and labeling the devices. 6) Actual Production and Insolation measurements were taken from SCADA.

## Erie Ridge
Erie Ridge
Month-Year | Budget Production | SEEDs Gen Meter |  | HONI Statement (Off Peak) | HONI Statement (On Peak) | Total | Measured Insolation | Budget Insolation | Weather Performance | WPR Check
| kWh | kWh |  | kWh | kWh | kWh | kWh/m2 | kWh/m2 | %
2017-01-01 | 482146.0651 | 310560 | 310560 |  |  | 0 | 39.2849 | 66 | 59.52% | 59.52%
2017-02-01 | 619545.8742 | 749411 | 749411 |  |  | 0 | 89.3 | 90.1 | 99.11% | 99.22%
2017-03-01 | 1137388.3195 |  |  |  |  | 0 |  | 140 | 0%
2017-04-01 | 1365818.5023 |  |  |  |  | 0 |  | 173 | 0%
2017-05-01 | 1793030.7716 |  |  |  |  | 0 |  | 237 | 0%
2017-06-01 | 1709796.045 |  |  |  |  | 0 |  | 230 | 0%
2017-07-01 | 1742048.1129 |  |  |  |  | 0 |  | 238 | 0%
2017-08-01 | 1503485.09 |  |  |  |  | 0 |  | 204 | 0%
2017-09-01 | 1220121.4375 |  |  |  |  | 0 |  | 161 | 0%
2017-10-01 | 869565.7103 |  |  |  |  | 0 |  | 111 | 0%
2017-11-01 | 485700.5783 |  |  |  |  | 0 |  | 64.5 | 0%
2017-12-01 | 370202.922 |  |  |  |  | 0 |  | 52.2 | 0%

## Sandhurst
Sandhurst
Month-Year | Budget Production | HONI Web Meter | NW Data | HONI Statement (Off Peak) | HONI Statement (On Peak) | Total kWh | Measured Insolation | Budget Insolation | Weather Performance | WPR Check
| kWh | kWh | kWh | kWh | kWh | kWh | kWh/m2 | kWh/m2
2017-01-01 | 481861.1496 | 356626.2 | 397593.1 |  |  | 0 | 49.8151 | 61.9 | 80.48% | 80.48%
2017-02-01 | 698406.0387 | 720002.4 | 753965.99 |  |  | 0 | 81.1338 | 88.4 | 91.78% | 91.78%
2017-03-01 | 1322679.5929 |  |  |  |  | 0 |  | 142.9 | 0%
2017-04-01 | 1651398.6362 |  |  |  |  | 0 |  | 178.5 | 0%
2017-05-01 | 2089365.5516 |  |  |  |  | 0 |  | 231.8 | 0%
2017-06-01 | 2192760.859 |  |  |  |  | 0 |  | 250.7 | 0%
2017-07-01 | 1907626.4692 |  |  |  |  | 0 |  | 254.6 | 0%
2017-08-01 | 1555358.7342 |  |  |  |  | 0 |  | 209.1 | 0%
2017-09-01 | 1198046.5926 |  |  |  |  | 0 |  | 156.5 | 0%
2017-10-01 | 824760.4964 |  |  |  |  | 0 |  | 104.2 | 0%
2017-11-01 | 457359.5413 |  |  |  |  | 0 |  | 57.7 | 0%
2017-12-01 | 344701.1249 |  |  |  |  | 0 |  | 48.5 | 0%
HONI
|  |  |  | 369.03 | -61703.21 | 2016-01-10 | 11406.02
|  |  |  | 368.6 | -85050.49 | 2016-02-10 | 26825.37
|  |  |  | 362.06 | -104033.86 | 2016-03-10 | 22216.26
|  |  |  | 359.32 | -102221.04 | 2016-04-10 | 31262.03
|  |  |  | 361.92 | -93513.04 | 2016-05-10 | 60497.68
|  |  |  | 368.5 | -93800.76 | 2016-06-10 | 57022.74
|  |  |  | 365.81 | -80548.48 | 2016-07-10 | 58729.57
|  |  |  | 381.19 | -22167.89 | 2016-08-10 | 16602.13
|  |  |  | 284.31 | -60874.94 | 2016-09-10 | 52081.8
|  |  |  | 390.37 | -47251.84 | 2016-10-10 | 59474.69
|  |  |  | 366.22 | -71619.84 | 2016-11-10 | 50601.27
|  |  |  | 372.74 | -76237.53 | 2016-12-10 | 55623.79
|  |  |  | 373.68 | -77766.17 | 10/13/2016 | 29958.45
|  |  |  | 379.87 | -46808.95 | 10/14/2016 | 52405.04
|  |  |  | 377.83 | -86087.2 | 10/15/2016 | 53573.28
|  |  |  | 378.93 | -32186.67 | 10/16/2016 | 11049.38
|  |  |  | 380.79 | -75222.67 | 10/17/2016 | 4916.08
|  |  |  | 374.12 | -75866.37 | 10/18/2016 | 23561.54
|  |  |  | 377.51 | -64412.4 | 10/19/2016 | 49927.85
|  |  |  | 383.35 | -85350.44 | 10/20/2016 | 2306.18
|  |  |  | 379.68 | -69608.29 | 10/21/2016 | 1745.39
|  |  |  | 381.66 | -87223.42 | 10/22/2016 | 7174.55
|  |  |  | 386.67 | -76231.07 | 10/23/2016 | 44360.32
|  |  |  | 381.05 | -58605.45 | 10/24/2016 | 43515.9
|  |  |  | 423.78 | -32120.73 | 10/25/2016 | 39798.15
|  |  |  | 390.68 | -85959.59 | 10/26/2016 | 37762.81
|  |  |  | 396.18 | -73080.44 | 10/27/2016 | 1365.64
|  |  |  | 413.7 | -45856.65 | 10/28/2016 | 19359.61
|  |  |  | 394.23 | -77341.55 | 10/29/2016 | 3045.55
|  |  |  | 405.82 | -44630.93 | 10/30/2016 | 5591.45
[6 empty] | 10/31/2016 | 30932.41
964692.93
Date | HONI
2016-01-07 | 62117.22
2016-02-07 | 85464.81
2016-03-07 | 104448.04
2016-04-07 | 102634.03
2016-05-07 | 93935.11
2016-06-07 | 94230.84
2016-07-07 | 80983.55
2016-08-07 | 22597.57
2016-09-07 | 61210.57
2016-10-07 | 47672.44
2016-11-07 | 72019.95
2016-12-07 | 76649
7/13/2016 | 78204.62
7/14/2016 | 47230.67
7/15/2016 | 86510.15
7/16/2016 | 32593.77
7/17/2016 | 75636.65
7/18/2016 | 76284.92
7/19/2016 | 64821.58
7/20/2016 | 85770.74
7/21/2016 | 70033.36
7/22/2016 | 87671.95
7/23/2016 | 76682.86
7/24/2016 | 59040.47
7/25/2016 | 32598.25
7/26/2016 | 86412.74
7/27/2016 | 73538.66
7/28/2016 | 46326
7/29/2016 | 72489.55
7/30/2016 | 77790.33
7/31/2016 | 45090.07
2178690.47

## Rutley
Rutley
Month-Year | Budget Production | HONI Web Meter | NW Data | HONI Statement (Off Peak) | HONI Statement (On Peak) | Total kWh | Measured Insolation | Budget Insolation | Weather Performance | WPR Check
| kWh | kWh | kWh | kWh | kWh | kWh | kWh/m2 | kWh/m2
2017-01-01 | 555018.2067 | 510635.16 | 512053.55 |  |  | 0 | 51.0721 | 62.5 | 81.72% | 81.72%
2017-02-01 | 759857.9667 | 697321.19 | 698804.582 |  |  | 0 | 79.8362 | 95.8 | 83.34% | 83.34%
2017-03-01 | 1399738.3597 |  |  |  |  | 0 |  | 145.4 | 0%
2017-04-01 | 1682612.3139 |  |  |  |  | 0 |  | 176.3 | 0%
2017-05-01 | 2005478.7927 |  |  |  |  | 0 |  | 217.2 | 0%
2017-06-01 | 1999626.2282 |  |  |  |  | 0 |  | 222.4 | 0%
2017-07-01 | 1936380.7557 |  |  |  |  | 0 |  | 245.5 | 0%
2017-08-01 | 1635997.9496 |  |  |  |  | 0 |  | 205.4 | 0%
2017-09-01 | 1330391.0947 |  |  |  |  | 0 |  | 158.5 | 0%
2017-10-01 | 907243.1418 |  |  |  |  | 0 |  | 104.2 | 0%
2017-11-01 | 503250.0345 |  |  |  |  | 0 |  | 57.5 | 0%
2017-12-01 | 403122.4325 |  |  |  |  | 0 |  | 49.4 | 0%
HONI
[6 empty] | 2016-01-10 | 18780.24
[6 empty] | 2016-02-10 | 8958.57
[6 empty] | 2016-03-10 | 35886.72
[6 empty] | 2016-04-10 | 62546.64
[6 empty] | 2016-05-10 | 45672.85
[6 empty] | 2016-06-10 | 61003.47
[6 empty] | 2016-07-10 | 60542.7
[6 empty] | 2016-08-10 | 5319.9
[6 empty] | 2016-09-10 | 38690.54
[6 empty] | 2016-10-10 | 65080.66
[6 empty] | 2016-11-10 | 29349.31
[6 empty] | 2016-12-10 | 0
[6 empty] | 10/13/2016 | 0
[6 empty] | 10/14/2016 | 54434.87
[6 empty] | 10/15/2016 | 51239.62
[6 empty] | 10/16/2016 | 12274.98
[6 empty] | 10/17/2016 | 23872.62
[6 empty] | 10/18/2016 | 29675.57
[6 empty] | 10/19/2016 | 48924.18
[6 empty] | 10/20/2016 | 5226
[6 empty] | 10/21/2016 | 3102.18
[6 empty] | 10/22/2016 | 2808.89
[6 empty] | 10/23/2016 | 49588.73
[6 empty] | 10/24/2016 | 36009.95
[6 empty] | 10/25/2016 | 29991.75
[6 empty] | 10/26/2016 | 21085.92
[6 empty] | 10/27/2016 | 9305.68
[6 empty] | 10/28/2016 | 7066.43
[6 empty] | 10/29/2016 | 2192.48
[6 empty] | 10/30/2016 | 8085.7
[6 empty] | 10/31/2016 | 15483.67
842200.82
Date | HONI
2016-01-07 | 62636.34
2016-02-07 | 57138.26
2016-03-07 | 85357.21
2016-04-07 | 101700.36
2016-05-07 | 95794.34
2016-06-07 | 77132.43
2016-07-07 | 72891.78
2016-08-07 | 41849.25
2016-09-07 | 17733.05
2016-10-07 | 20198.36
2016-11-07 | 89895.96
2016-12-07 | 93836.37
7/13/2016 | 83961
7/14/2016 | 53659.02
7/15/2016 | 68711.42
7/16/2016 | 29544.68
7/17/2016 | 84022.9
7/18/2016 | 60006.34
7/19/2016 | 77070.73
7/20/2016 | 85165.08
7/21/2016 | 78230.68
7/22/2016 | 60879.05
7/23/2016 | 41220.57
7/24/2016 | 78171.15
7/25/2016 | 29733.58
7/26/2016 | 74015.74
7/27/2016 | 79291.41
7/28/2016 | 39114.18
7/29/2016 | 79383.11
7/30/2016 | 69949.42
7/31/2016 | 82379.2
2070672.97

## Norfolk
Norfolk
Month-Year | Budget Production | HONI Web Meter | NW Data | HONI Statement (Off Peak) | HONI Statement (On Peak) | Total kWh | Measured Insolation | Budget Insolation | Weather Performance | WPR Check
| kWh | kWh | kWh | kWh | kWh | kWh | kWh/m2 | kWh/m2
2017-01-01 | 558317.978 | 513393.67 | 515044.71 |  |  | 0 | 46.8658 | 65.2 | 71.88% | 71.88%
2017-02-01 | 765280.6767 | 971280.23 | 973541.26 |  |  | 0 | 88.1822 | 81.5 | 108.2% | 108.2%
2017-03-01 | 1293757.5213 |  |  |  |  | 0 |  | 130.4 | 0%
2017-04-01 | 1467028.618 |  |  |  |  | 0 |  | 148.4 | 0%
2017-05-01 | 1753888.5446 |  |  |  |  | 0 |  | 179.5 | 0%
2017-06-01 | 1855925.9681 |  |  |  |  | 0 |  | 194 | 0%
2017-07-01 | 1773649.6318 |  |  |  |  | 0 |  | 189.4 | 0%
2017-08-01 | 1611536.7125 |  |  |  |  | 0 |  | 171.3 | 0%
2017-09-01 | 1347743.5007 |  |  |  |  | 0 |  | 138.7 | 0%
2017-10-01 | 1038865.6308 |  |  |  |  | 0 |  | 102.4 | 0%
2017-11-01 | 598570.7789 |  |  |  |  | 0 |  | 61.2 | 0%
2017-12-01 | 488257.254 |  |  |  |  | 0 |  | 56.1 | 0%
| HONI | NW |  | 8771.16 | 2042.3
2017-01-01 | 49015.23 | 49086.6
2017-02-01 | 7601.98 | 7610.48
2017-03-01 | 2307.86 | 2326.51
2017-04-01 | 12350.08 | 12397.4
2017-05-01 | 8877.49 | 9252.75
2017-06-01 | 40690.66 | 40759.3
2017-07-01 | 37748.27 | 37794.7
2017-08-01 | 39006.69 | 39548.7
2017-09-01 | 18252.13 | 18570.7
2017-10-01 | 2668.44 | 2771.77
2017-11-01 | 17561.24 | 17612.2
2017-12-01 | 5799.96 | 5799.96
1/13/2017 | 30046.8 | 30046.8 | [8 empty] | A
1/14/2017 | 7466.55 | 7466.55 | [8 empty] | A
1/15/2017 | 51303 | 51303 | [8 empty] | A
1/16/2017 | 22862.5 | 22862.5 | [8 empty] | A
1/17/2017 | 3579.08 | 3579.08 | [8 empty] | A
1/18/2017 | 3988.38 | 3988.38 | [8 empty] | A
1/19/2017 | 3799.97 | 3799.97 | [8 empty] | A
1/20/2017 | 4673.09 | 4673.09 | [8 empty] | A
1/21/2017 | 16998.5 | 16998.5 | [8 empty] | A
1/22/2017 | 10931.1 | 10931.1 | [8 empty] | A
1/23/2017 | 7057.49 | 7057.49 | [8 empty] | A
1/24/2017 | 6302.89 | 6302.89 | [8 empty] | A
1/25/2017 | 8268.6 | 8268.6 | [8 empty] | A
1/26/2017 | 10072 | 10072 | [8 empty] | A
1/27/2017 | 13260.8 | 13260.8 | [8 empty] | A
1/28/2017 | 6256.39 | 6256.39 | [8 empty] | A
1/29/2017 | 17865.7 | 17865.7
1/30/2017 | 34586.1 | 34586.1 | [8 empty] | A
1/31/2017 | 12194.7 | 12194.7 | [8 empty] | A
| 513393.67 | 515044.71 | [8 empty] | A
Note on C4: PC: Jan 12 - Seems to be incorrect data Jan 13-31 - Missing data

## Hwy 2
Hwy 2
Month-Year | Budget Production | HONI Web Meter | NW Data | HONI Statement (Off Peak) | HONI Statement (On Peak) | Total kWh | Measured Insolation | Budget Insolation | Weather Performance | WPR Check
| kWh | kWh | kWh | kWh | kWh | kWh | kWh/m2 | kWh/m2
2017-01-01 | 736776.9939 | 555645.11 | 554893.535 |  |  | 0 | 61.1952 | 83.4 | 73.38% | 73.38%
2017-02-01 | 1034357.6633 | 825055.66 | 823607.5723 |  |  | 0 | 83.0896 | 108 | 76.93% | 76.93%
2017-03-01 | 1395499.2523 |  |  |  |  | 0 |  | 142.7 | 0%
2017-04-01 | 1587145.0556 |  |  |  |  | 0 |  | 154.3 | 0%
2017-05-01 | 1859686.5748 |  |  |  |  | 0 |  | 182.1 | 0%
2017-06-01 | 1896282.2558 |  |  |  |  | 0 |  | 188.1 | 0%
2017-07-01 | 1923710.7789 |  |  |  |  | 0 |  | 194 | 0%
2017-08-01 | 1697284.633 |  |  |  |  | 0 |  | 172 | 0%
2017-09-01 | 1458385.8605 |  |  |  |  | 0 |  | 146 | 0%
2017-10-01 | 1135056.9996 |  |  |  |  | 0 |  | 108.1 | 0%
2017-11-01 | 710028.2596 |  |  |  |  | 0 |  | 67.7 | 0%
2017-12-01 | 559397.3066 |  |  |  |  | 0 |  | 65.6 | 0%
HONI
[6 empty] | 2016-01-10 | 19922.78
[6 empty] | 2016-02-10 | 23355.31
[6 empty] | 2016-03-10 | 20018.36
[6 empty] | 2016-04-10 | 27123.13
[6 empty] | 2016-05-10 | 64290.33
[6 empty] | 2016-06-10 | 67877.98
[6 empty] | 2016-07-10 | 70137.05
[6 empty] | 2016-08-10 | 17878.78
[6 empty] | 2016-09-10 | 50837.5
[6 empty] | 2016-10-10 | 73245.4
[6 empty] | 2016-11-10 | 67249.9
[6 empty] | 2016-12-10 | 702.98
[6 empty] | 10/13/2016 | 31440.63
[6 empty] | 10/14/2016 | 70132.13
[6 empty] | 10/15/2016 | 66703.63
[6 empty] | 10/16/2016 | 14347.7
[6 empty] | 10/17/2016 | 7661.43
[6 empty] | 10/18/2016 | 24186.81
[6 empty] | 10/19/2016 | 54958.54
[6 empty] | 10/20/2016 | 4414.69
[6 empty] | 10/21/2016 | 3212.57
[6 empty] | 10/22/2016 | 9389.57
[6 empty] | 10/23/2016 | 60847.65
[6 empty] | 10/24/2016 | 56857.32
[6 empty] | 10/25/2016 | 50610.4
[6 empty] | 10/26/2016 | 48652.9
[6 empty] | 10/27/2016 | 1243.62
[6 empty] | 10/28/2016 | 15307.39
[6 empty] | 10/29/2016 | 2835.3
[6 empty] | 10/30/2016 | 11215.53
[6 empty] | 10/31/2016 | 55107.33
1091764.64
Date | HONI | SEEDs Actual Gen | SEEDs Insol
2016-01-07 | 43424.09 | 43321 | 3961.794 | 1809.34
2016-02-07 | 66998.36 | 66830 | 6598.409 | 2791.6
2016-03-07 | 78920.76 | 78700 | 7790.046 | 3288.36
2016-04-07 | 83987.26 | 83737 | 8281.449 | 3499.47
2016-05-07 | 81718.2 | 81461 | 8051.82 | 3404.92
2016-06-07 | 79087.46 | 78840 | 7794.982 | 3295.31
2016-07-07 | 51331.85 | 51181 | 4940.23 | 2138.83
2016-08-07 | 29533.6 | 29468 | 2518.68 | 1230.57
2016-09-07 | 55033.3 | 54882 | 5360.217 | 2293.05
2016-10-07 | 45519.64 | 45417 | 4073.458 | 1896.65
2016-11-07 | 71729.69 | 71526 | 7021.853 | 2988.74
2016-12-07 | 77641.39 | 77413 | 7554.261 | 3235.06
7/13/2016 | 71662.8 | 71440 | 7025.334 | 2985.95
7/14/2016 | 38110.37 | 38017 | 3510.417 | 1587.93
7/15/2016 | 67017.51 | 58823 | 6242.118 | 2792.4
7/16/2016 | 30482.6 | 26161 | 2495.273 | 1270.11
7/17/2016 | 67654.62 | 67467 | 6153.204 | 2818.94
7/18/2016 | 61764.96 | 50972 | 5740.612 | 2573.54
7/19/2016 | 57659.14 | 47363 | 4990.208 | 2402.46
7/20/2016 | 76093.02 | 52202 | 7078.817 | 3170.54
7/21/2016 | 72094.86 | 71878 | 7353.421 | 3003.95
7/22/2016 | 64136.42 | 59443 | 6022.55 | 2672.35
7/23/2016 | 57458.41 | 48995 | 6687.9855 | 2394.1 |  | Small Data gap
7/24/2016 | 73880.46 | 65709 | 6905.163 | 3078.35
7/25/2016 | 26286.19 | 22824 | 2352.981 | 1095.26
7/26/2016 | 67604.2 | 63473 | 6682.715 | 2816.84
7/27/2016 | 75946.79 | 69795 | 7368.679 | 3164.45
7/28/2016 | 44992.92 | 44215 | 4016.685 | 1874.71
7/29/2016 | 73294.41 | 64262 | 6813.19 | 3053.93
7/30/2016 | 75167.6 | 46316 | 5475.829 | 3131.98
7/31/2016 | 49477.88 | 32110 | 3474.939 | 0
| 1915710.76 | 1764241 | 180.3373

## Odessa
Odessa
Month-Year | Budget Production | HONI Web Meter | NW Data | HONI Statement (Off Peak) | HONI Statement (On Peak) | Total kWh | Measured Insolation | Budget Insolation | Weather Performance | WPR Check
| kWh | kWh | kWh | kWh | kWh | kWh | kWh/m2 | kWh/m2
2017-01-01 | 630514.6927 | 519301.24 | 518336.498 |  |  | 0 | 61.5966 | 73.8 | 83.46% | 83.46%
2017-02-01 | 951521.4132 | 820755.7 | 819283.1175 |  |  | 0 | 87.581 | 102.7 | 85.28% | 85.28%
2017-03-01 | 1361643.4322 |  |  |  |  | 0 |  | 142.9 | 0% | 0%
2017-04-01 | 1542748.7162 |  |  |  |  | 0 |  | 156.3 | 0% | 0%
2017-05-01 | 1830217.4211 |  |  |  |  | 0 |  | 184.8 | 0% | 0%
2017-06-01 | 1859922.5206 |  |  |  |  | 0 |  | 190.9 | 0% | 0%
2017-07-01 | 1902588.8654 |  |  |  |  | 0 |  | 197.8 | 0% | 0%
2017-08-01 | 1655338.2301 |  |  |  |  | 0 |  | 172.6 | 0% | 0%
2017-09-01 | 1401405.1452 |  |  |  |  | 0 |  | 144.3 | 0% | 0%
2017-10-01 | 1115014.4479 |  |  |  |  | 0 |  | 110.2 | 0% | 0%
2017-11-01 | 670154.2316 |  |  |  |  | 0 |  | 65.4 | 0% | 0%
2017-12-01 | 498319.8132 |  |  |  |  | 0 |  | 59.8 | 0% | 0%
HONI
[6 empty] | 2016-01-10 | 19246.35
[6 empty] | 2016-02-10 | 29787.61
[6 empty] | 2016-03-10 | 19313.23
[6 empty] | 2016-04-10 | 28732.42
[6 empty] | 2016-05-10 | 66571.65
[6 empty] | 2016-06-10 | 66113.62
[6 empty] | 2016-07-10 | 69561.22
[6 empty] | 2016-08-10 | 17228.87
[6 empty] | 2016-09-10 | 51567.33
[6 empty] | 2016-10-10 | 73485.14
[6 empty] | 2016-11-10 | 65447.84
[6 empty] | 2016-12-10 | 700.57
[6 empty] | 10/13/2016 | 31065.51
[6 empty] | 10/14/2016 | 64979.66
[6 empty] | 10/15/2016 | 65811.89
[6 empty] | 10/16/2016 | 12633.13
[6 empty] | 10/17/2016 | 7213.2
[6 empty] | 10/18/2016 | 22366.88
[6 empty] | 10/19/2016 | 57888.79
[6 empty] | 10/20/2016 | 4578.57
[6 empty] | 10/21/2016 | 3308.11
[6 empty] | 10/22/2016 | 9495.2
[6 empty] | 10/23/2016 | 60298.73
[6 empty] | 10/24/2016 | 53917.55
[6 empty] | 10/25/2016 | 45743.75
[6 empty] | 10/26/2016 | 49248.47
[6 empty] | 10/27/2016 | 1291.93
[6 empty] | 10/28/2016 | 16466.74
[6 empty] | 10/29/2016 | 2756.67
[6 empty] | 10/30/2016 | 9766.71
[6 empty] | 10/31/2016 | 53941.08
1080528.42
| HONI |  | ActualEnergy(GenMeter) | Insolation(EnvKit#1) |  | Insolation(EnvKit#1)
2016-01-07 | 46401.52 |  | 46318 | 4164.677 |  | 4164.677
2016-02-07 | 70937.27 |  | 70806 | 7038.703 |  | 7038.703
2016-03-07 | 79139.99 |  | 78970 | 7904.158 |  | 7904.158
2016-04-07 | 83000.24 |  | 82815 | 8199.78 |  | 8199.78
2016-05-07 | 80222.22 |  | 80031 | 7959.163 |  | 7959.163
2016-06-07 | 75004.63 |  | 74831 | 7439.329 |  | 7439.329
2016-07-07 | 55631.72 |  | 55507 | 5529.082 |  | 5529.082
2016-08-07 | 25335.95 |  | 25284 | 2118.79 |  | 2118.79
2016-09-07 | 57466.88 |  | 57337 | 5846.154 |  | 5846.154
2016-10-07 | 47265.61 |  | 47181 | 4251.137 |  | 4251.137
2016-11-07 | 70446.71 |  | 70285 | 6959.167 |  | 6959.167
2016-12-07 | 75843.73 |  | 75666 | 7434.043 |  | 7434.043
7/13/2016 | 71802.23 |  | 71625 | 7238.895 |  | 7238.895
7/14/2016 | 37721.82 |  | 37648 | 3445.521 |  | 3445.521
7/15/2016 | 69791.2 |  | 64354 | 6310.065 |  | 6310.065
7/16/2016 | 32836.77 |  | 27424 | 2687.986 |  | 2687.986
7/17/2016 | 70417.68 |  | 63424 | 6351.372 |  | 6351.372
7/18/2016 | 66713.99 |  | 58145 | 6152.701 |  | 6152.701
7/19/2016 | 50262.42 |  | 41415 | 4334.515 |  | 4334.515
7/20/2016 | 75946.06 |  | 55322 | 6877.79 |  | 6877.79
7/21/2016 | 73474.46 |  | 73295 | 7279.181 |  | 7279.181
7/22/2016 | 63345.92 |  | 53673 | 5964.689 |  | 5964.689
7/23/2016 | 60360.27 |  | 50179 | 5787.881 |  | 5787.881
7/24/2016 | 69251.97 |  | 60082 | 6569.347 |  | 7078.4855 | 7078.4855 | Date gap
7/25/2016 | 28007.97 |  | 26947 | 2543.892 |  | 2543.892
7/26/2016 | 67461.77 |  | 60330 | 6538.121 |  | 6538.121
7/27/2016 | 73777.44 |  | 73616 | 7084.197 |  | 7084.197
7/28/2016 | 49593.3 |  | 33977 | 4314.661 |  | 4314.661
7/29/2016 | 75391.36 |  | 57639 | 6861.29 |  | 6861.29
7/30/2016 | 75203.6 |  | 26678 | 5271.498 |  | 5271.498
7/31/2016 | 55319.31 |  | 26982 | 3470.701 |  | 3470.701
| 1933376.01 |  | 1727786 | 179928.486 | 0 | 180.4376

## Unity
Unity
Month-Year | Budget Production | HONI Web Meter | NW Data | HONI Statement (Off Peak) | HONI Statement (On Peak) | Total kWh | Measured Insolation | Budget Insolation | Weather Performance | WPR Check
| kWh | kWh | kWh | kWh | kWh | kWh | kWh/m2 | kWh/m2
2017-01-01 | 694006.944 | 648639.84 | 647569.41 |  |  | 0 | 63.0301 | 72.6 | 86.82% | 86.82%
2017-02-01 | 1016259.1195 | 901990.23 | 898870.348 |  |  | 0 | 86.8075 | 94.6 | 91.76% | 91.76%
2017-03-01 | 1476342.0446 |  |  |  |  | 0 |  | 145.6 | 0% | 0%
2017-04-01 | 1638438.7714 |  |  |  |  | 0 |  | 162.5 | 0% | 0%
2017-05-01 | 1912158.9927 |  |  |  |  | 0 |  | 180 | 0% | 0%
2017-06-01 | 1863627.0386 |  |  |  |  | 0 |  | 176.9 | 0% | 0%
2017-07-01 | 1989810.1193 |  |  |  |  | 0 |  | 190.1 | 0% | 0%
2017-08-01 | 1857803.2041 |  |  |  |  | 0 |  | 177 | 0% | 0%
2017-09-01 | 1610290.238 |  |  |  |  | 0 |  | 150.1 | 0% | 0%
2017-10-01 | 1236594.1912 |  |  |  |  | 0 |  | 110.6 | 0% | 0%
2017-11-01 | 875516.4525 |  |  |  |  | 0 |  | 79.1 | 0% | 0%
2017-12-01 | 672652.8842 |  |  |  |  | 0 |  | 71.6 | 0% | 0%
1196161.94
HONI
2016-01-10 23:00 | 19072 | 1474.307 |  |  |  | 2016-01-10 | 22424.7
2016-02-10 23:00 | 21216 | 1868.648 |  |  |  | 2016-02-10 | 24068.04
2016-03-10 23:00 | 16592 | 1443.378 |  |  |  | 2016-03-10 | 19210.58
2016-04-10 23:00 | 22720 | 1912.166 |  |  |  | 2016-04-10 | 24556.96
2016-05-10 23:00 | 66320 | 6052.456 |  |  |  | 2016-05-10 | 67170.19
2016-06-10 23:00 | 69392 | 6088.578 |  |  |  | 2016-06-10 | 70340.52
2016-07-10 23:00 | 71760 | 6396.798 |  |  |  | 2016-07-10 | 72632.43
2016-08-10 23:00 | 16256 | 1312.108 |  |  |  | 2016-08-10 | 17906.72
2016-09-10 23:00 | 46096 | 3848.77 |  |  |  | 2016-09-10 | 47453.11
2016-10-10 23:00 | 75664 | 6645.469 |  |  |  | 2016-10-10 | 76486.44
2016-11-10 23:00 | 69584 | 6118.55 |  |  |  | 2016-11-10 | 70720.78
2016-12-10 23:00 | 68560 | 5958.416 |  |  |  | 2016-12-10 | 69755.11
10/13/2016 11:00:00 PM | 34224 | 2870.663 |  |  |  | 10/13/2016 | 35740.45
10/14/2016 11:00:00 PM | 74192 | 6489.855 |  |  |  | 10/14/2016 | 74997.47
10/15/2016 11:00:00 PM | 68976 | 6021.242 |  |  |  | 10/15/2016 | 69779.95
10/16/2016 11:00:00 PM | 11536 | 892.8392 |  |  |  | 10/16/2016 | 15339.49
10/17/2016 11:00:00 PM | 4224 | 324.244 |  |  |  | 10/17/2016 | 8956.87
10/18/2016 11:00:00 PM | 23552 | 1951.852 |  |  |  | 10/18/2016 | 25622.4
10/19/2016 11:00:00 PM | 59808 | 5324.256 |  |  |  | 10/19/2016 | 60534.98
10/20/2016 11:00:00 PM | 4723.07 | 414.4106 |  |  |  | 10/20/2016 | 4723.07
10/21/2016 11:00:00 PM | 3239.37 | 284.2281 |  |  |  | 10/21/2016 | 3239.37
10/22/2016 11:00:00 PM | 8423.96 | 739.1333 |  |  |  | 10/22/2016 | 8423.96
10/23/2016 11:00:00 PM | 63584 | 5487.092 |  |  |  | 10/23/2016 | 64924.66
10/24/2016 11:00:00 PM | 59680 | 4840.274 |  |  |  | 10/24/2016 | 60470.34
10/25/2016 11:00:00 PM | 44848 | 3803.002 |  |  |  | 10/25/2016 | 46186.74
10/26/2016 11:00:00 PM | 45984 | 3995.842 |  |  |  | 10/26/2016 | 47256.96
10/27/2016 11:00:00 PM | 1698.44 | 149.0242 |  |  |  | 10/27/2016 | 1698.44
10/28/2016 11:00:00 PM | 10384 | 799.7295 |  |  |  | 10/28/2016 | 12885.66
10/29/2016 11:00:00 PM | 2487.04 | 218.2173 |  |  |  | 10/29/2016 | 2487.04
10/30/2016 11:00:00 PM | 12600.06 | 1105.5518 |  |  |  | 10/30/2016 | 12600.06
10/31/2016 11:00:00 PM | 56480 | 4735.494 |  |  |  | 10/31/2016 | 57568.43
| 1153875.94 | 99.5666 |  |  |  |  | 1196161.92
No data gaps on insolation
DateTime | HONI | ActualEnergy(GenMeter) | Insolation(EnvKit#1)
2016-07-0100:00:00 | 48224.77 | 47908 | 4055.524
2016-07-0200:00:00 | 69937.66 | 69472 | 6619.225
2016-07-0300:00:00 | 74424.56 | 73933 | 7049.926
2016-07-0400:00:00 | 87789.04 | 87211 | 8249.971
2016-07-0500:00:00 | 85120.78 | 84557 | 8001.334
2016-07-0600:00:00 | 79626.37 | 79111 | 7475.278
2016-07-0700:00:00 | 62834.77 | 62436 | 5789.899
2016-07-0800:00:00 | 35780.94 | 35552 | 2802.545
2016-07-0900:00:00 | 49550.2 | 49232 | 4664.74
2016-07-1000:00:00 | 46101.63 | 45810 | 3740.475
2016-07-1100:00:00 | 79002.32 | 78487 | 7436.413
2016-07-1200:00:00 | 79655.52 | 79134 | 7563.339
2016-07-1300:00:00 | 77281.96 | 76786 | 7246.233
2016-07-1400:00:00 | 39289.99 | 39039 | 3472.753
2016-07-1500:00:00 | 67109.88 | 63272 | 6036.73
2016-07-1600:00:00 | 31595.57 | 29975 | 2490.495
2016-07-1700:00:00 | 73742.28 | 61763 | 6659.826
2016-07-1800:00:00 | 62861.48 | 41103 | 5647.035
2016-07-1900:00:00 | 51508.48 | 39107 | 4425.219
2016-07-2000:00:00 | 82408.21 | 75923 | 6924.954
2016-07-2100:00:00 | 78102.72 | 77596 | 7298.325
2016-07-2200:00:00 | 70108.84 | 63905 | 6477.625
2016-07-2300:00:00 | 76414.52 | 65100 | 6925.942
2016-07-2400:00:00 | 75440.45 | 67096 | 6516.098
2016-07-2500:00:00 | 26391.97 | 25507 | 2157.086
2016-07-2600:00:00 | 67980.69 | 63543 | 6238.302
2016-07-2700:00:00 | 79964.78 | 76604 | 7267.297
2016-07-2800:00:00 | 43773.64 | 39148 | 3499.447
2016-07-2900:00:00 | 81138.99 | 72886 | 7007.692
2016-07-3000:00:00 | 81609.58 | 59890 | 5607.467
2016-07-3100:00:00 | 56237.5 | 31971 | 3278.049
| 2021010.09 | 1863057 | 178.6252 | 0 | 0

## Alfred
Alfred
Month-Year | Budget Production | HONI Web Meter | NW Data | HONI Statement (Off Peak) | HONI Statement (On Peak) | Total kWh | Measured Insolation | Budget Insolation | Weather Performance | WPR Check
| kWh | kWh | kWh | kWh | kWh | kWh | kWh/m2 | kWh/m2
2017-01-01 | 776733.8226 | 607993.77 | 601894.804 |  |  | 0 | 67.7008 | 80.4 | 84.2% | 84.2%
2017-02-01 | 1053099.7895 | 1038573.66 | 1029833.44 |  |  | 0 | 93.0405 | 110.3 | 84.35% | 84.66%
2017-03-01 | 1557346.4658 |  |  |  |  | 0 |  | 151.3 | 0% | 0%
2017-04-01 | 1604862.018 |  |  |  |  | 0 |  | 155.7 | 0% | 0%
2017-05-01 | 1846318.5996 |  |  |  |  | 0 |  | 172.3 | 0% | 0%
2017-06-01 | 1842439.779 |  |  |  |  | 0 |  | 173 | 0% | 0%
2017-07-01 | 1947167.9349 |  |  |  |  | 0 |  | 183.5 | 0% | 0%
2017-08-01 | 1857955.0614 |  |  |  |  | 0 |  | 174.1 | 0% | 0%
2017-09-01 | 1535043.2475 |  |  |  |  | 0 |  | 140.7 | 0% | 0%
2017-10-01 | 1165585.5865 |  |  |  |  | 0 |  | 103.6 | 0% | 0%
2017-11-01 | 761218.5403 |  |  |  |  | 0 |  | 68.1 | 0% | 0%
2017-12-01 | 722404.7284 |  |  |  |  | 0 |  | 66.5 | 0% | 0%
HONI
2016-01-10 23:00 | 32496 | 2662.823 |  |  |  |  | 2016-01-10 | 34125.82
2016-02-10 23:00 | 6832 | 542.7266 |  |  |  |  | 2016-02-10 | 10241.53
2016-03-10 23:00 | 47824 | 4591.148 |  |  |  |  | 2016-03-10 | 49447.83
2016-04-10 23:00 | 73920 | 6847.619 |  |  |  |  | 2016-04-10 | 74882.77
2016-05-10 23:00 | 69296 | 6438.424 |  |  |  |  | 2016-05-10 | 70327.82
2016-06-10 23:00 | 64992 | 5910.527 |  |  |  |  | 2016-06-10 | 65875.1
2016-07-10 23:00 | 62736 | 5753.776 |  |  |  |  | 2016-07-10 | 63940.94
2016-08-10 23:00 | 4480 | 363.7228 |  |  |  |  | 2016-08-10 | 7722.38
2016-09-10 23:00 | 53184 | 4910.465 |  |  |  |  | 2016-09-10 | 54762.81
2016-10-10 23:00 | 73744 | 6744.47 |  |  |  |  | 2016-10-10 | 74663.12
2016-11-10 23:00 | 71504 | 6518.354 |  |  |  |  | 2016-11-10 | 72701.18
2016-12-10 23:00 | 68176 | 6231.381 |  |  |  |  | 2016-12-10 | 69385.23
10/13/2016 11:00:00 PM | 9776 | 791.6528 |  |  |  |  | 10/13/2016 | 11235.94
10/14/2016 11:00:00 PM | 53568 | 4628.318 |  |  |  |  | 10/14/2016 | 54491.37
10/15/2016 11:00:00 PM | 65920 | 5915.972 |  |  |  |  | 10/15/2016 | 67098.59
10/16/2016 11:00:00 PM | 4672 | 399.3971 |  |  |  |  | 10/16/2016 | 8408.67
10/17/2016 11:00:00 PM | 57792 | 5111.354 |  |  |  |  | 10/17/2016 | 58980.01
10/18/2016 11:00:00 PM | 16224 | 1488.832 |  |  |  |  | 10/18/2016 | 18261
10/19/2016 11:00:00 PM | 60640 | 5563.264 |  |  |  |  | 10/19/2016 | 61447.29
10/20/2016 11:00:00 PM | 7473.11 | 683.4748 |  |  |  |  | 10/20/2016 | 7473.11
10/21/2016 11:00:00 PM | 3107.18 | 284.1761 |  |  |  |  | 10/21/2016 | 3107.18
10/22/2016 11:00:00 PM | 4651.51 | 425.4172 |  |  |  |  | 10/22/2016 | 4651.51
10/23/2016 11:00:00 PM | 61824 | 5511.236 |  |  |  |  | 10/23/2016 | 62894.24
10/24/2016 11:00:00 PM | 24918.52 | 2278.995 |  |  |  |  | 10/24/2016 | 24918.52
10/25/2016 11:00:00 PM | 34160 | 2848.528 |  |  |  |  | 10/25/2016 | 35705.68
10/26/2016 11:00:00 PM | 32496 | 2917.107 |  |  |  |  | 10/26/2016 | 34248.09
10/27/2016 11:00:00 PM | 13120 | 1030.21 |  |  |  |  | 10/27/2016 | 15597.22
10/28/2016 11:00:00 PM | 8232.8 | 752.9544 |  |  |  |  | 10/28/2016 | 8232.8
10/29/2016 11:00:00 PM | 2223.11 | 203.3209 |  |  |  |  | 10/29/2016 | 2223.11
10/30/2016 11:00:00 PM | 12784 | 1016.196 |  |  |  |  | 10/30/2016 | 15346.52
10/31/2016 11:00:00 PM | 8401.77 | 768.4081 |  |  |  |  | 10/31/2016 | 8401.77
| 1111168 | 100.1342 | [5 empty] | 1150799.15
Username: ADMIN | Date/Time: 9/6/2016 12:09:52 PM
Query Parameters
Tag Name: DAILY_INSOLATION | Description: Daily Insolation
Query start time: 8/1/2016
Query end time: 9/1/2016 12:00:10 AM
Timestamp | Value (Wh/m²) | Quality
1
2016-01-08 23:00 | 6760.447 | Good NonSpecific
2016-02-08 23:00 | 7942.318 | Good NonSpecific | 2
2016-03-08 23:00 | 7881.35 | Good NonSpecific | 3
2016-04-08 23:00 | 7391.043 | Good NonSpecific | 4
2016-05-08 23:00 | 6736.515 | Good NonSpecific | 5
2016-06-08 23:00 | 7211.421 | Good NonSpecific | 6
2016-07-08 23:00 | 6506.703 | Good NonSpecific | 7
2016-08-08 23:00 | 7641.46 | Good NonSpecific | 8
2016-09-08 23:00 | 7740.815 | Good NonSpecific | 9
2016-10-08 23:00 | 7212.619 | Good NonSpecific | 10
2016-11-08 23:00 | 7203.058 | Good NonSpecific | 11
2016-12-08 23:00 | 1813.859 | Good NonSpecific | 12
8/13/2016 11:00:00 PM | 975.7353 | Good NonSpecific | 13
8/14/2016 11:00:00 PM | 4077.526 | Good NonSpecific | 14
8/15/2016 11:00:00 PM | 7758.64 | Good NonSpecific | 15
8/16/2016 11:00:00 PM | 1202.219 | Good NonSpecific | 16
8/17/2016 11:00:00 PM | 7717.838 | Good NonSpecific | 17
8/18/2016 11:00:00 PM | 5101.295 | Good NonSpecific | 18
8/19/2016 11:00:00 PM | 7853.083 | Good NonSpecific | 19
8/20/2016 11:00:00 PM | 5917.391 | Good NonSpecific | 20
8/21/2016 11:00:00 PM | 543.0491 | Good NonSpecific | 21
8/22/2016 11:00:00 PM | 6074.95 | Good NonSpecific | 22
8/23/2016 11:00:00 PM | 7586.127 | Good NonSpecific | 23
8/24/2016 11:00:00 PM | 7234.567 | Good NonSpecific | 24
8/25/2016 11:00:00 PM | 3421.045 | Good NonSpecific | 25
| 5810.8512 |  | 26
8/27/2016 11:00:00 PM | 7574.203 | Good NonSpecific | 27
| 5810.8512 |  | 28
8/29/2016 11:00:00 PM | 4063.138 | Good NonSpecific | 29
8/30/2016 11:00:00 PM | 4045.698 | Good NonSpecific | 30
8/31/2016 11:00:00 PM | 5326.573 | Good NonSpecific | 31
180.1364
DateTime | HONI | ActualEnergy(GenMeter) | Insolation(EnvKit#1)
2016-07-0100:00:00 | 59473.74 | 58967 | 5535.871
2016-07-0200:00:00 | 57834.18 | 57325 | 4943.468
2016-07-0300:00:00 | 79905.52 | 79263 | 7443.327
2016-07-0400:00:00 | 84900.1 | 84224 | 7984.658
2016-07-0500:00:00 | 85418.06 | 84749 | 8098.9
2016-07-0600:00:00 | 70289.03 | 69722 | 6510.416
2016-07-0700:00:00 | 63365.21 | 62842 | 5751.165
2016-07-0800:00:00 | 32778.64 | 31378 | 2526.052
2016-07-0900:00:00 | 12896.27 | 12738 | 1040.888
2016-07-1000:00:00 | 33269.82 | 32949 | 2572.024
2016-07-1100:00:00 | 83330.63 | 82671 | 7776.327
2016-07-1200:00:00 | 77739.13 | 77142 | 7170.357
2016-07-1300:00:00 | 61010.63 | 60518 | 5507.767
2016-07-1400:00:00 | 34221.78 | 33907 | 2861.408
2016-07-1500:00:00 | 65665.54 | 59767 | 5856.869
2016-07-1600:00:00 | 59401.65 | 47331 | 5512.987
2016-07-1700:00:00 | 75354.12 | 70908 | 6742.06
2016-07-1800:00:00 | 65076.04 | 41685 | 5584.293
2016-07-1900:00:00 | 68221.21 | 53364 | 5595.153
2016-07-2000:00:00 | 85498.97 | 65061 | 7247.521
2016-07-2100:00:00 | 79252.34 | 78635 | 7160.058
2016-07-2200:00:00 | 70694.55 | 68832 | 6521.339
2016-07-2300:00:00 | 65835.58 | 58417 | 5690.545
2016-07-2400:00:00 | 76424.56 | 63606 | 6617.309
2016-07-2500:00:00 | 19740.62 | 18682 | 1510.467
2016-07-2600:00:00 | 73259.89 | 67394 | 6836.724
2016-07-2700:00:00 | 75865.51 | 65928 | 6710.778
2016-07-2800:00:00 | 59847.15 | 45589 | 4900.808
2016-07-2900:00:00 | 78718.09 | 65728 | 6814.959
2016-07-3000:00:00 | 79238.47 | 57863 | 5591.843
2016-07-3100:00:00 | 83859 | 35682 | 5655.784
| 2018386.03 | 1792867 | 176.2721

## Newboro 4
Newboro 4
Month-Year |  | Budget Production | HONI Web Meter | NW Data | HONI Statement (Off Peak) | HONI Statement (On Peak) | Total kWh | Measured Insolation | Budget Insolation | Weather Performance | WPR Check
|  | kWh | kWh | kWh | kWh | kWh | kWh | kWh/m2 | kWh/m2
2017-01-01 |  | 1086300.3227 | 827339.2 | 830448.07 |  |  | 0 | 63.2129 | 84.4 | 74.9% | 74.9%
2017-02-01 |  | 1410916.1811 | 1051085.506 | 1051085.506 |  |  | 0 | 89.637 | 107.6 | 83.31% | 83.31%
2017-03-01 |  | 1858595.365 |  |  |  |  | 0 |  | 146.6 | 0% | 0%
2017-04-01 |  | 2029139.816 |  |  |  |  | 0 |  | 156.7 | 0% | 0%
2017-05-01 |  | 2143482.1184 |  |  |  |  | 0 |  | 166 | 0% | 0%
2017-06-01 |  | 2265576.4413 |  |  |  |  | 0 |  | 181.1 | 0% | 0%
2017-07-01 |  | 2356480.1279 |  |  |  |  | 0 |  | 185.3 | 0% | 0%
2017-08-01 |  | 2150859.4863 |  |  |  |  | 0 |  | 168.8 | 0% | 0%
2017-09-01 |  | 1774370.9875 |  |  |  |  | 0 |  | 133.3 | 0% | 0%
2017-10-01 |  | 1506002.2628 |  |  |  |  | 0 |  | 108 | 0% | 0%
2017-11-01 |  | 947061.6454 |  |  |  |  | 0 |  | 67.2 | 0% | 0%
2017-12-01 |  | 811911.9279 |  |  |  |  | 0 |  | 63.6 | 0% | 0%
2017-01-01 |  | 13062.16 | 13168.7 |  | 544.26
2017-02-01 |  | 60606.32 | 60712.9 |  | 2525.26
2017-03-01 |  | 4691.02 | 4809.22 |  | 195.46
2017-04-01 |  | 20568.69 | 20801.3 |  | 857.03
2017-05-01 |  | 18479.87 | 18528.2 |  | 769.99
2017-06-01 |  | 63122.96 | 63315.7 |  | 2630.12
2017-07-01 |  | 61316.08 | 61517.2 |  | 2554.84
2017-08-01 |  | 14625.76 | 14672.4 |  | 609.41
2017-09-01 |  | 3359.36 | 3521.7 |  | 139.97
2017-10-01 |  | 1732.6 | 1753.52 |  | 72.19
2017-11-01 |  | 57808.76 | 57907.6 |  | 2408.7
2017-12-01 |  | 4513.86 | 4727.85 |  | 188.08
1/13/2017 |  | 67761.43 | 67885.1 |  | 2823.39
1/14/2017 |  | 23142.05 | 23319.9 |  | 964.25
1/15/2017 |  | 61151.2 | 61321.2 |  | 2547.97
1/16/2017 |  | 51227.91 | 51284.9 |  | 2134.5
1/17/2017 |  | 11816.97 | 11908.9 |  | 492.37
1/18/2017 |  | 3373.62 | 3383.81 |  | 140.57
1/19/2017 |  | 17770.47 | 17826.6 |  | 740.44
1/20/2017 |  | 8962.69 | 9031.75 |  | 373.45
1/21/2017 |  | 12188.83 | 12259.4 |  | 507.87
1/22/2017 |  | 21816.27 | 21987.2 |  | 909.01
1/23/2017 |  | 10437.92 | 10625.8 |  | 434.91
1/24/2017 |  | 3116.76 | 3123.35 |  | 129.86
1/25/2017 |  | 1034.14 | 1036.77 |  | 43.09
1/26/2017 |  | 11730.06 | 11794.7 |  | 488.75
1/27/2017 |  | 31952.98 | 32033 |  | 1331.37
1/28/2017 |  | 20055.34 | 20115.3 |  | 835.64
1/29/2017 |  | 30418.12 | 30579.1 |  | 1267.42
1/30/2017 | 11905.56 | 59447.2 | 59447.2 | 47541.64 | 1082.32
1/31/2017 |  | 56047.8 | 56047.8 |  |  |  | 45890.1219
|  | 827339.2 | 830448.07
2016-01-10 23:00 |  | 25076 | 1510.981 |  |  |  | 2016-01-10 | 27906.75
2016-02-10 23:00 |  | 16024 | 1035.925 |  |  |  | 2016-02-10 | 21118.52
2016-03-10 23:00 |  | 16152 | 995.2253 |  |  |  | 2016-03-10 | 20575.9
2016-04-10 23:00 |  | 65088 | 5096.072 |  |  |  | 2016-04-10 | 66653.37
2016-05-10 23:00 |  | 73948 | 5749.935 |  |  |  | 2016-05-10 | 74798.21
2016-06-10 23:00 |  | 76600 | 5815.675 |  |  |  | 2016-06-10 | 77553.7
2016-07-10 23:00 |  | 82836 | 6494.638 |  |  |  | 2016-07-10 | 83452.09
2016-08-10 23:00 |  | 17516 | 1093.789 |  |  |  | 2016-08-10 | 20813.03
2016-09-10 23:00 |  | 49392 | 3375.115 |  |  |  | 2016-09-10 | 50655.57
2016-10-10 23:00 |  | 85824 | 6777.472 |  |  |  | 2016-10-10 | 86086.08
2016-11-10 23:00 |  | 80551.06 | 6309.6726 |  |  |  | 2016-11-10 | 80551.06
2016-12-10 23:00 |  | 79020 | 6167.681 |  |  |  | 2016-12-10 | 79577.04
10/13/2016 11:00:00 PM |  | 40208 | 2657.485 |  |  |  | 10/13/2016 | 41802.05
10/14/2016 11:00:00 PM |  | 75632 | 5924.356 |  |  |  | 10/14/2016 | 75999.48
10/15/2016 11:00:00 PM |  | 72336 | 5396.636 |  |  |  | 10/15/2016 | 72759.27
10/16/2016 11:00:00 PM |  | 13464 | 829.2548 |  |  |  | 10/16/2016 | 19201.33
10/17/2016 11:00:00 PM |  | 12140 | 729.7283 |  |  |  | 10/17/2016 | 15845.09
10/18/2016 11:00:00 PM |  | 45548 | 3159.593 |  |  |  | 10/18/2016 | 46513.23
10/19/2016 11:00:00 PM |  | 71836 | 5501.048 |  |  |  | 10/19/2016 | 72166.32
10/20/2016 11:00:00 PM |  | 8148.72 | 638.3002 |  |  |  | 10/20/2016 | 8148.72
10/21/2016 11:00:00 PM |  | 4341.41 | 340.0685 |  |  |  | 10/21/2016 | 4341.41
10/22/2016 11:00:00 PM |  | 9203.84 | 43.2312 |  |  |  | 10/22/2016 | 9203.84
10/23/2016 11:00:00 PM |  | 74252 | 5833.63 |  |  |  | 10/23/2016 | 75081.7
10/24/2016 11:00:00 PM |  | 71620 | 5192.508 |  |  |  | 10/24/2016 | 72495.46
10/25/2016 11:00:00 PM |  | 51831.6 | 4060.0387 |  |  |  | 10/25/2016 | 51831.6
10/26/2016 11:00:00 PM |  | 49916 | 3349.896 |  |  |  | 10/26/2016 | 50866.02
10/27/2016 11:00:00 PM |  | 5594.83 | 438.2505 |  |  |  | 10/27/2016 | 5594.83
10/28/2016 11:00:00 PM |  | 16258.96 | 1273.5861 |  |  |  | 10/28/2016 | 16258.96
10/29/2016 11:00:00 PM |  | 3670.82 | 287.5403 |  |  |  | 10/29/2016 | 3670.82
10/30/2016 11:00:00 PM |  | 19548 | 1164.179 |  |  |  | 10/30/2016 | 21829.41
10/31/2016 11:00:00 PM |  | 55628 | 3791.302 |  |  |  | 10/31/2016 | 56802.94
|  | 1369205.24 | 101.0328 |  |  |  |  | 1410153.8
Username: GUEST |  | Date/Time: 9/6/2016 1:54:34 PM
Query Parameters |  |  |  |  | 2501.83
Tag Name: DAILY_ENERGY_DELIVERED |  | Description: Daily Energy Delivered |  |  | 3232.41
Query start time: 8/1/2016 |  |  |  |  | 3681.51
Query end time: 9/1/2016 12:00:10 AM |  |  |  |  | 4139.13
Timestamp |  | Value (kWh) | Quality |  | 4089.39
3754.38
2016-01-08 23:00 |  | 82882 |  | 7019.726 | 3512.22
2016-02-08 23:00 |  | 90550 |  | 7554.192 | 1951.3
2016-03-08 23:00 |  | 67128 |  | 5035.474 | 296.37
2016-04-08 23:00 |  | 93598 |  | 7664.807 | 0
2016-05-08 23:00 |  | 83410 |  | 6914.201 | 0
2016-06-08 23:00 |  | 83758 |  | 6878.94 | 1991.51
2016-07-08 23:00 |  | 89826 |  | 7760.616 | 3726.43
2016-08-08 23:00 |  | 91772 |  | 7735.833 | 1997.58
2016-09-08 23:00 |  | 74644 |  | 7403.452 | 3205.18
2016-10-08 23:00 |  | 68838 |  | 6002.074 | 2121.29
2016-11-08 23:00 |  | 74362 |  | 6358.092 | 3849.43
2016-12-08 23:00 |  | 50032 |  | 3999.94 | 3428.3
8/13/2016 11:00:00 PM |  | 11060 |  | 698.9701 | 3232.02
8/14/2016 11:00:00 PM |  | 62710 |  | 4830.327 | 4006.76
8/15/2016 11:00:00 PM |  | 81990 |  | 7062.998 | 3628.94
8/16/2016 11:00:00 PM |  | 6956 |  | 410.3857 | 3920.35
8/17/2016 11:00:00 PM |  | 82114 |  | 6466.32 | 3781.64
8/18/2016 11:00:00 PM |  | 64716 |  | 4680.971 | 3459.89
8/19/2016 11:00:00 PM |  | 89298 |  | 7306.385 | 1856.9
8/20/2016 11:00:00 PM |  | 75396 |  | 5980.938 | 3630.45
8/21/2016 11:00:00 PM |  | 30644 |  | 2016.823 | 3626.71
8/22/2016 11:00:00 PM |  | 84232 |  | 7019.53 | 2669.86
8/23/2016 11:00:00 PM |  | 86120 |  | 7227.194 | 3793.97
8/24/2016 11:00:00 PM |  | 88064 |  | 7123.159 | 3885.16
8/25/2016 11:00:00 PM |  | 45828 |  | 3525.134 | 3426.1
8/26/2016 11:00:00 PM |  | 73588 |  | 6962.889
8/27/2016 11:00:00 PM |  | 82192 |  | 6773.943
8/28/2016 11:00:00 PM |  | 70792 |  | 5361.439
8/29/2016 11:00:00 PM |  | 90656 |  | 7609.977
8/30/2016 11:00:00 PM |  | 60688 |  | 4246.442
8/31/2016 11:00:00 PM |  | 57952 |  | 4274.136
|  | 2195796 |  | 179.9053
2016-01-07 |  | 60043.82
2016-02-07 |  | 77577.84
2016-03-07 |  | 88356.28
2016-04-07 |  | 99339.05
2016-05-07 |  | 98145.4
2016-06-07 |  | 90105.14
2016-07-07 |  | 84293.22
2016-08-07 |  | 46831.1
2016-09-07 |  | 7112.89 | Faulty freewave radio unit
2016-10-07 |  | 0
2016-11-07 |  | 0
2016-12-07 |  | 47796.13
7/13/2016 |  | 89434.43
7/14/2016 |  | 47941.87
7/15/2016 |  | 76924.28
7/16/2016 |  | 50910.84
7/17/2016 |  | 92386.24
7/18/2016 |  | 82279.28
7/19/2016 |  | 77568.55
7/20/2016 |  | 96162.22
7/21/2016 |  | 87094.65
7/22/2016 |  | 94088.42
7/23/2016 |  | 90759.27
7/24/2016 |  | 83037.37
7/25/2016 |  | 44565.57
7/26/2016 |  | 87130.9
7/27/2016 |  | 87040.92
7/28/2016 |  | 64076.56
7/29/2016 |  | 91055.21
7/30/2016 |  | 93243.85
7/31/2016 |  | 82226.33
2217527.63
Note on D4: PC: Jan 30th - seems to be incorrect. Jan 31st - Missing.

## Newboro 1
Newboro 1
Month-Year | Budget Production | HONI Web Meter | NW Data | HONI Statement (Off Peak) | HONI Statement (On Peak) | Total kWh | Measured Insolation | Budget Insolation | Weather Performance | WPR Check
| kWh | kWh | kWh | kWh | kWh | kWh | kWh/m2 | kWh/m2
2017-01-01 | 1083159.1437 | 821172.68 | 824242.66 |  |  | 0 | 61.7859 | 84.4 | 73.21% | 73.21%
2017-02-01 | 1406562.2748 | 1100816.12 | 1103415.8745 |  |  | 0 | 88.0257 | 107.6 | 81.81% | 81.81%
2017-03-01 | 1852568.981 |  |  |  |  | 0 |  | 146.6 | 0% | 0%
2017-04-01 | 2022476.2976 |  |  |  |  | 0 |  | 156.7 | 0% | 0%
2017-05-01 | 2136391.4304 |  |  |  |  | 0 |  | 166 | 0% | 0%
2017-06-01 | 2257064.2405 |  |  |  |  | 0 |  | 181.1 | 0% | 0%
2017-07-01 | 2348623.5285 |  |  |  |  | 0 |  | 185.2 | 0% | 0%
2017-08-01 | 2142806.397 |  |  |  |  | 0 |  | 168.8 | 0% | 0%
2017-09-01 | 1768680.8636 |  |  |  |  | 0 |  | 133.2 | 0% | 0%
2017-10-01 | 1501310.9451 |  |  |  |  | 0 |  | 108 | 0% | 0%
2017-11-01 | 944450.5753 |  |  |  |  | 0 |  | 67.2 | 0% | 0%
2017-12-01 | 809803.8538 |  |  |  |  | 0 |  | 63.6 | 0% | 0%
1332706.25
2016-01-10 23:00 | 23662 | 1473.814 |  |  |  | 2016-01-10 | 26940.87
2016-02-10 23:00 | 19004 | 1275.225 |  |  |  | 2016-02-10 | 24402.71
2016-03-10 23:00 | 12991 | 828.7169 |  |  |  | 2016-03-10 | 17220.96
2016-04-10 23:00 | 59017 | 4635.846 |  |  |  | 2016-04-10 | 60044.64
2016-05-10 23:00 | 71574 | 5443.137 |  |  |  | 2016-05-10 | 72256.73
2016-06-10 23:00 | 74450 | 5625.74 |  | 1 |  | 2016-06-10 | 75498.29
2016-07-10 23:00 | 81634 | 6398.698 |  | 2 |  | 2016-07-10 | 82322.83
2016-08-10 23:00 | 14772 | 950.8088 |  | 3 |  | 2016-08-10 | 18220.97
2016-09-10 23:00 | 51149 | 3644.265 |  | 4 |  | 2016-09-10 | 52414.48
2016-10-10 23:00 | 84049 | 6633.423 |  | 5 |  | 2016-10-10 | 84483.87
2016-11-10 23:00 | 79314 | 6151.884 |  | 6 |  | 2016-11-10 | 79835.49
2016-12-10 23:00 | 77900 | 6004.379 |  | 7 |  | 2016-12-10 | 78497.86
10/13/2016 11:00:00 PM | 38243 | 2530.679 |  | 8 |  | 10/13/2016 | 40250.37
10/14/2016 11:00:00 PM | 76128 | 5599.019 |  | 9 |  | 10/14/2016 | 77015.59
10/15/2016 11:00:00 PM | 71905 | 5294.725 |  | 10 |  | 10/15/2016 | 72423.82
10/16/2016 11:00:00 PM | 11634 | 721.1848 |  | 11 |  | 10/16/2016 | 18390.33
10/17/2016 11:00:00 PM | 13412 | 815.4993 |  | 12 |  | 10/17/2016 | 17487.42
10/18/2016 11:00:00 PM | 44467 | 3060.333 |  | 13 |  | 10/18/2016 | 45492.55
10/19/2016 11:00:00 PM | 73148 | 5433.239 |  | 14 |  | 10/19/2016 | 73522.69
10/20/2016 11:00:00 PM | 8287.3 | 638.7688 |  | 15 |  | 10/20/2016 | 8287.3
10/21/2016 11:00:00 PM | 4715.16 | 363.4353 |  | 16 |  | 10/21/2016 | 4715.16
10/22/2016 11:00:00 PM | 8839.61 | 681.3398 |  | 17 |  | 10/22/2016 | 8839.61
10/23/2016 11:00:00 PM | 73601 | 5745.939 |  | 18 |  | 10/23/2016 | 74677
10/24/2016 11:00:00 PM | 68372.12 | 5269.9887 |  | 19 |  | 10/24/2016 | 68372.12
10/25/2016 11:00:00 PM | 51105 | 3367.767 |  | 20 |  | 10/25/2016 | 52089.11
10/26/2016 11:00:00 PM | 51855 | 3603.961 |  | 21 |  | 10/26/2016 | 53102.72
10/27/2016 11:00:00 PM | 6200.44 | 477.9177 |  | 22 |  | 10/27/2016 | 6200.44
10/28/2016 11:00:00 PM | 14643.27 | 1128.6745 |  | 23 |  | 10/28/2016 | 14643.27
10/29/2016 11:00:00 PM | 4279.26 | 329.837 |  | 24 |  | 10/29/2016 | 4279.26
10/30/2016 11:00:00 PM | 20777.79 | 1601.5112 |  | 25 |  | 10/30/2016 | 20777.79
10/31/2016 11:00:00 PM | 55417.65 | 4271.4836 |  | 26 |  | 10/31/2016 | 55417.65
| 1346546.6 | 100.0012 |  |  |  |  | 1388123.9
30
31
|  | Incomplete | Incomplete
| HONI | SCADA | SCADA Insol
2016-01-07 | 58585.7 | 55312 | 3998.514
2016-02-07 | 77284.02 | 75880 | 6371.982
2016-03-07 | 89172.97 | 87512 | 7611.092
2016-04-07 | 97082.36 | 95864 | 8153.224
2016-05-07 | 95468.4 | 94020 | 7978.265
2016-06-07 | 90270.95 | 88804 | 7542.333
2016-07-07 | 83144.82 | 81628 | 6726.875
2016-08-07 | 2970.7 | 2970 | 3252.997
2016-09-07 | 3143.7 | 1636 | 153.9372
2016-10-07 | 51395.18 | 49110 | 3214.728
2016-11-07 | 97017.79 | 95340 | 7945.801
2016-12-07 | 92565.82 | 91264 | 7505.871
7/13/2016 | 89509.42 | 88192 | 7376.491
7/14/2016 | 44810.69 | 39548 | 2884.421
7/15/2016 | 74716.24 | 72148 | 6256.842
7/16/2016 | 50911.03 | 48796 | 3396.799
7/17/2016 | 91080.28 | 89292 | 7758.916
7/18/2016 | 77448.38 | 75424 | 6389.172
7/19/2016 | 72169.25 | 69992 | 5738.607
7/20/2016 | 93855.9 | 92644 | 7784.593
7/21/2016 | 12890.36 | 12044 | 7028.137
7/22/2016 | 59474.79 | 58960 | 5431.433
7/23/2016 | 76418.15 | 6680 | 675.6153
7/24/2016 | 73537.06 | 0 | 0
7/25/2016 | 31034.18 | 0 | 0
7/26/2016 | 71160.16 | 0 | 0
7/27/2016 | 76703.66 | 0 | 0
7/28/2016 | 57779.43 | 0 | 4551.195 |  |  | 4551.195
7/29/2016 | 80675.77 | 0 | 7331.561 |  |  | 7331.561
7/30/2016 | 80578.15 | 0 | 7059.223 |  |  | 7059.223
7/31/2016 | 75025.71 | 0 | 6656.598 |  |  | 6656.598
| 2127881.02 |  | 156775.2225

## Welland
Welland
Month-Year | Budget Production | HONI Web Meter | NW Data | HONI Statement (Off Peak) | HONI Statement (On Peak) | Total kWh | Measured Insolation | Budget Insolation | Weather Performance | WPR Check
| kWh | kWh | kWh | kWh | kWh | kWh | kWh/m2 | kWh/m2
2017-01-01 | 780400.4535 | 632990.26 | 634769.19 |  |  | 0 | 47.3793 | 61.7 | 76.79% | 76.79%
2017-02-01 | 963676.3176 | 1174299 | 1175825.12 |  |  | 0 | 92.318 | 81.3 | 113.6% | 113.6%
2017-03-01 | 1468177.6209 |  |  |  |  | 0 |  | 123.9 | 0% | 0%
2017-04-01 | 1732252.5218 |  |  |  |  | 0 |  | 148.2 | 0% | 0%
2017-05-01 | 2109643.1452 |  |  |  |  | 0 |  | 177 | 0% | 0%
2017-06-01 | 2158910.8506 |  |  |  |  | 0 |  | 182.6 | 0% | 0%
2017-07-01 | 2113672.2423 |  |  |  |  | 0 |  | 187.7 | 0% | 0%
2017-08-01 | 1965179.4836 |  |  |  |  | 0 |  | 172.9 | 0% | 0%
2017-09-01 | 1632480.518 |  |  |  |  | 0 |  | 139.7 | 0% | 0%
2017-10-01 | 1288503.6213 |  |  |  |  | 0 |  | 104.7 | 0% | 0%
2017-11-01 | 763140.0003 |  |  |  |  | 0 |  | 62.8 | 0% | 0%
2017-12-01 | 618406.552 |  |  |  |  | 0 |  | 51.9 | 0% | 0%
| kWh | Insol
2016-01-10 23:00 | 35112 | 2590.778
2016-02-10 23:00 | 32160 | 2326.347
2016-03-10 23:00 | 39780 | 3316.802
2016-04-10 23:00 | 75124 | 6089.367
2016-05-10 23:00 | 78800 | 6252.35
2016-06-10 23:00 | 68008 | 5271.225
2016-07-10 23:00 | 80004 | 6374.937
2016-08-10 23:00 | 48748 | 3942.979
2016-09-10 23:00 | 37960 | 2944.789
2016-10-10 23:00 | 81396 | 6498.395
2016-11-10 23:00 | 44148 | 3106.478
2016-12-10 23:00 | 71639.45 | 5832.3841
10/13/2016 11:00:00 PM | 46527.52 | 3787.946
10/14/2016 11:00:00 PM | 73444 | 5979.298
10/15/2016 11:00:00 PM | 76044 | 5959.028
10/16/2016 11:00:00 PM | 35152 | 2541.81
10/17/2016 11:00:00 PM | 36788 | 2640.856
10/18/2016 11:00:00 PM | 28672 | 2070.316
10/19/2016 11:00:00 PM | 75096 | 5826.143
10/20/2016 11:00:00 PM | 3995.94 | 325.3216
10/21/2016 11:00:00 PM | 3416.26 | 278.1281
10/22/2016 11:00:00 PM | 20526 | 1410.851
10/23/2016 11:00:00 PM | 49660 | 3756.123
10/24/2016 11:00:00 PM | 28408 | 2087.493
10/25/2016 11:00:00 PM | 53666 | 4181.971
10/26/2016 11:00:00 PM | 35698 | 2418.563
10/27/2016 11:00:00 PM | 3983.99 | 324.3487
10/28/2016 11:00:00 PM | 69958 | 5258.715
10/29/2016 11:00:00 PM | 23517 | 1618.726
10/30/2016 11:00:00 PM | 1326 | 88.5393
10/31/2016 11:00:00 PM | 61712 | 4426.999
| 1420470.16 | 109.528
Username: ADMIN | Date/Time: 9/6/2016 12:23:05 PM
Query Parameters
Tag Name: DAILY_ENERGY_DELIVERED | Description: Daily Energy Delivered
Query start time: 8/1/2016
Query end time: 9/1/2016 12:00:10 AM
Timestamp | Value (kWh)
[7 empty] | Timestamp | Value (Wh/m²)
2016-01-08 23:00 | 55660 |  | 1 | 1 |  |  | 2016-01-08 23:00 | 4525.203
2016-02-08 23:00 | 83792 |  | 2 | 2 |  |  | 2016-02-08 23:00 | 7266.582
2016-03-08 23:00 | 88692 |  | 3 | 3 |  |  | 2016-03-08 23:00 | 7631.696
2016-04-08 23:00 | 16012 |  | 4 | 4 |  |  | 2016-04-08 23:00 | 2955.699
2016-05-08 23:00 | 71516 |  | 5 | 5 |  |  | 2016-05-08 23:00 | 6185.495
2016-06-08 23:00 | 72086 |  | 6 | 6 |  |  | 2016-06-08 23:00 | 6308.833
|  |  | 7 | 7 |  |  |  | 5881.98
2016-08-08 23:00 | 70552 |  | 8 | 8 |  |  | 2016-08-08 23:00 | 7173.242
2016-09-08 23:00 | 83016 |  | 9 | 9 |  |  | 2016-09-08 23:00 | 7077.619
2016-10-08 23:00 | 80140 |  | 10 | 10 |  |  | 2016-10-08 23:00 | 6882.254
2016-11-08 23:00 | 82764 |  | 11 | 11 |  |  | 2016-11-08 23:00 | 6826.555
2016-12-08 23:00 | 67040 |  | 12 | 12 |  |  | 2016-12-08 23:00 | 5577.102
|  |  | 13 | 13 |  |  |  | 5418.777
8/14/2016 11:00:00 PM | 56508 |  | 14 | 14 |  |  | 8/14/2016 11:00:00 PM | 4375.722
8/15/2016 11:00:00 PM | 58788 |  | 15 | 15 |  |  | 8/15/2016 11:00:00 PM | 4318.305
8/16/2016 11:00:00 PM | 46380 |  | 16 | 16 |  |  | 8/16/2016 11:00:00 PM | 3489.669
8/17/2016 11:00:00 PM | 71556 |  | 17 | 17 |  |  | 8/17/2016 11:00:00 PM | 5463.787
8/18/2016 11:00:00 PM | 74372 |  | 18 | 18 |  |  | 8/18/2016 11:00:00 PM | 6442.446
8/19/2016 11:00:00 PM | 82816 |  | 19 | 19 |  |  | 8/19/2016 11:00:00 PM | 7013.349
8/20/2016 11:00:00 PM | 79824 |  | 20 | 20 |  |  | 8/20/2016 11:00:00 PM | 6675.575
8/21/2016 11:00:00 PM | 57796 |  | 21 | 21 |  |  | 8/21/2016 11:00:00 PM | 4385.408
8/22/2016 11:00:00 PM | 72892 |  | 22 | 22 |  |  | 8/22/2016 11:00:00 PM | 6137.148
|  |  | 23 | 23 |  |  |  | 5716.3166
8/24/2016 11:00:00 PM | 83524 |  | 24 | 24 |  |  | 8/24/2016 11:00:00 PM | 7070.136
8/25/2016 11:00:00 PM | 59440 |  | 25 | 25 |  |  | 8/25/2016 11:00:00 PM | 4869.176
8/26/2016 11:00:00 PM | 77812 |  | 26 | 26 |  |  | 8/26/2016 11:00:00 PM | 6514.276
8/27/2016 11:00:00 PM | 84932 |  | 27 | 27 |  |  | 8/27/2016 11:00:00 PM | 7116.925
8/28/2016 11:00:00 PM | 76164 |  | 28 | 28 |  |  | 8/28/2016 11:00:00 PM | 6245.229
8/29/2016 11:00:00 PM | 83560 |  | 29 | 29 |  |  | 8/29/2016 11:00:00 PM | 7202.573
8/30/2016 11:00:00 PM | 71488 |  | 30 | 30 |  |  | 8/30/2016 11:00:00 PM | 5910.991
8/31/2016 11:00:00 PM | 11380 |  | 31 | 31 |  |  | 8/31/2016 11:00:00 PM | 2583.138
| 1920502 | [6 empty] | 181.2412
| SCADA | SCADA Insol | Norfolk SEEDs Insol |  |  | Welland SEEDs Insol
2016-07-01 | 40167 | 3111.895 | 3369.974 |  |  | 3484.982
2016-07-02 | 70138 | 5813.776 | 5590.48 |  |  | 6140.064
2016-07-03 | 99442.5659 | 8242.847 | 6429.566 |  |  | 8242.847
2016-07-04 | 87768 | 7360.124 | 4542.08 |  |  | 7744.14
2016-07-05 | 90752 | 7666.983 | 7413.535 |  |  | 8053.202
2016-07-06 | 90220 | 7571.803 | 7276.729 |  |  | 7931.95
2016-07-07 | 72086 | 6023.544 | 4692.386 |  |  | 6599.972
2016-07-08 | 58108 | 4695.168 | 3091.176 |  |  | 4955.175
2016-07-09 | 61958 | 5137.562 | 7156.146 |  |  | 5358.302
2016-07-10 | 87224 | 7381.354 | 5944.667 |  |  | 7708.006
2016-07-11 | 67572 | 5327.524 | 6716.56 |  |  | 5686.006
2016-07-12 | 87798 | 7293.949 | 7811.81 |  |  | 7613.144
2016-07-13 | 80436 | 6809.966 | 7000.823 |  |  | 7082.234
2016-07-14 | 54076 | 3973.68 | 6187.854 |  |  | 4346.298
2016-07-15 | 78964 | 6709.904 | 7330.494 |  |  | 6503.946
2016-07-16 | 70152 | 5546.284 | 5376.333 |  |  | 5490.649
2016-07-17 | 88368 | 7439.75 | 6125.252 |  |  | 7383.189
2016-07-18 | 73578 | 6114.986 | 4578.999 |  |  | 5805.276
2016-07-19 | 64894 | 5210.015 | 6502.457 |  |  | 5049.226
2016-07-20 | 91800 | 7754.246 | 7593.04 |  |  | 7611.918
2016-07-21 | 84074 | 6900.958 | 5440.886 |  |  | 7241.06
2016-07-22 | 69432 | 5709.152 | 7005.319 |  |  | 5741.472
2016-07-23 | 78388 | 6790.994 | 5752.892 |  |  | 6586.805
2016-07-24 | 45413.4025 | 3934.303 | 5386.931 |  |  | 3934.303
2016-07-25 | 35458 | 3514.24 | 6309.15
2016-07-26 | 86272 | 7374.842 | 6116.998
2016-07-27 | 89644 | 7499.426 | 7111.501
2016-07-28 | 56450 | 4100.607 | 7388.676
2016-07-29 | 79212 | 6523.495 | 6969.387
2016-07-30 | 65284 | 5454.664 | 7447.699
2016-07-31 | 50364.963 | 4208.136 | 4208.136
| 2255493.9313 | 187.1962
HONI | 2317972.77

## Bruining
Bruining
Month-Year | Budget Production | HONI Web Meter | NW Data | HONI Statement (Off Peak) | HONI Statement (On Peak) | Total kWh | Measured Insolation | Budget Insolation | Weather Performance | WPR Check
| kWh | kWh | kWh | kWh | kWh | kWh | kWh/m2 | kWh/m2
2017-01-01 | 944415.8338 | 829281.39 | 831761.329 |  |  | 0 | 64.0877 | 82.4 | 77.78% | 77.78%
2017-02-01 | 1137814.9183 | 958690.75 | 959626.042 |  |  | 0 | 86.9519 | 107 | 81.26% | 81.26%
2017-03-01 | 1818147.7383 |  |  |  |  | 0 |  | 147 | 0% | 0%
2017-04-01 | 2014491.9864 |  |  |  |  | 0 |  | 153.8 | 0% | 0%
2017-05-01 | 2256977.133 |  |  |  |  | 0 |  | 174.2 | 0% | 0%
2017-06-01 | 2256977.133 |  |  |  |  | 0 |  | 174.5 | 0% | 0%
2017-07-01 | 2235005.3558 |  |  |  |  | 0 |  | 185.7 | 0% | 0%
2017-08-01 | 2080167.8714 |  |  |  |  | 0 |  | 171.7 | 0% | 0%
2017-09-01 | 1775101.161 |  |  |  |  | 0 |  | 143.2 | 0% | 0%
2017-10-01 | 1438698.293 |  |  |  |  | 0 |  | 109.7 | 0% | 0%
2017-11-01 | 920730.0414 |  |  |  |  | 0 |  | 71.6 | 0% | 0%
2017-12-01 | 741929.613 |  |  |  |  | 0 |  | 64.3 | 0% | 0%
kWh
2016-01-10 23:00 | 25152 | 1560.153 |  | Good NonSpecific |  | 2016-01-10 | 27541.25
2016-02-10 23:00 | 11456 | 716.4604 |  | Good NonSpecific |  | 2016-02-10 | 14886.71
2016-03-10 23:00 | 50972.99 | 3920.1936 |  | Good NonSpecific |  | 2016-03-10 | 50972.99
2016-04-10 23:00 | 84032 | 6671.863 |  | Good NonSpecific |  | 2016-04-10 | 84653.49
2016-05-10 23:00 | 59712 | 5096.061 |  | Good NonSpecific |  | 2016-05-10 | 61278.57
2016-06-10 23:00 | 81744 | 6286.708 |  | Good NonSpecific |  | 2016-06-10 | 82503.13
2016-07-10 23:00 | 81952 | 6442.196 |  | Good NonSpecific |  | 2016-07-10 | 82554.29
2016-08-10 23:00 | 8472.84 | 103.0216 |  | Good NonSpecific |  | 2016-08-10 | 8472.84
2016-09-10 23:00 | 50256 | 3742.74 |  | Good NonSpecific |  | 2016-09-10 | 52069.18
2016-10-10 23:00 | 84304 | 6723.744 |  | Good NonSpecific |  | 2016-10-10 | 84763.74
2016-11-10 23:00 | 79680 | 6297.039 |  | Good NonSpecific |  | 2016-11-10 | 80680.75
2016-12-10 23:00 | 75680 | 5959.489 |  | Good NonSpecific |  | 2016-12-10 | 76779.53
10/13/2016 11:00:00 PM | 9472 | 589.4284 |  | Good NonSpecific |  | 10/13/2016 | 12879.29
10/14/2016 11:00:00 PM | 82640 | 6432.668 |  | Good NonSpecific |  | 10/14/2016 | 82984.27
10/15/2016 11:00:00 PM | 73216 | 5699.681 |  | Good NonSpecific |  | 10/15/2016 | 73813.27
10/16/2016 11:00:00 PM | 16944 | 1171.465 |  | Good NonSpecific |  | 10/16/2016 | 21965.69
10/17/2016 11:00:00 PM | 36032 | 2304.598 |  | Good NonSpecific |  | 10/17/2016 | 37660.23
10/18/2016 11:00:00 PM | 44016 | 3129.766 |  | Good NonSpecific |  | 10/18/2016 | 45808.6
10/19/2016 11:00:00 PM | 28704 | 2096.248 |  | Good NonSpecific |  | 10/19/2016 | 29510.28
10/20/2016 11:00:00 PM | 7637.57 | 103.014 |  | Good NonSpecific |  | 10/20/2016 | 7637.57
10/21/2016 11:00:00 PM | 4656.96 | 358.1541 |  | Good NonSpecific |  | 10/21/2016 | 4656.96
10/22/2016 11:00:00 PM | 4477.72 | 344.3692 |  | Good NonSpecific |  | 10/22/2016 | 4477.72
10/23/2016 11:00:00 PM | 71568 | 5689.887 |  | Good NonSpecific |  | 10/23/2016 | 72708.89
10/24/2016 11:00:00 PM | 49584 | 3518.944 |  | Good NonSpecific |  | 10/24/2016 | 50786.46
10/25/2016 11:00:00 PM | 43042.76 | 3310.3012 |  | Good NonSpecific |  | 10/25/2016 | 43042.76
10/26/2016 11:00:00 PM | 27504 | 1729.681 |  | Good NonSpecific |  | 10/26/2016 | 29791.66
10/27/2016 11:00:00 PM | 10304 | 622.1942 |  | Good NonSpecific |  | 10/27/2016 | 13858.19
10/28/2016 11:00:00 PM | 11012.49 | 846.9406 |  |  |  | 10/28/2016 | 11012.49
10/29/2016 11:00:00 PM | 3449.08 | 265.2593 |  |  |  | 10/29/2016 | 3449.08
10/30/2016 11:00:00 PM | 13122.9 | 1009.2464 |  |  |  | 10/30/2016 | 13122.9
10/31/2016 11:00:00 PM | 19648 | 1215.33 |  |  |  | 10/31/2016 | 21875.33
| 1250445.31 | 93.9568 |  |  |  |  | 1288198.11
Username: GUEST | Date/Time: 9/6/2016 12:37:26 PM
Query Parameters
Tag Name: DAILY_ENERGY_DELIVERED | Description: Daily Energy Delivered
Query start time: 8/1/2016
Query end time: 9/1/2016 12:00:10 AM
Timestamp | Value (kWh) | Quality
2016-01-08 23:00 | 77376 | Good NonSpecific | 1 |  |  |  | 2016-01-08 23:00 | 5985.461
2016-02-08 23:00 | 93616 | Good NonSpecific | 2 |  |  |  | 2016-02-08 23:00 | 7920.426
2016-03-08 23:00 | 87728 | Good NonSpecific | 3 |  |  |  | 2016-03-08 23:00 | 7259.937
2016-04-08 23:00 | 90864 | Good NonSpecific | 4 |  |  |  | 2016-04-08 23:00 | 7411.441
2016-05-08 23:00 | 21728 | Good NonSpecific | 5 |  |  |  | 2016-05-08 23:00 | 1521.269
2016-06-08 23:00 | 73456 | Good NonSpecific | 6 |  |  |  | 2016-06-08 23:00 | 6090.299
2016-07-08 23:00 | 82800 | Good NonSpecific | 7 |  |  |  | 2016-07-08 23:00 | 7032.198
2016-08-08 23:00 | 85088 | Good NonSpecific | 8 |  |  |  | 2016-08-08 23:00 | 7007.457
2016-09-08 23:00 | 90128 | Good NonSpecific | 9 |  |  |  | 2016-09-08 23:00 | 7349.293
2016-10-08 23:00 | 85280 | Good NonSpecific | 10 |  |  |  | 2016-10-08 23:00 | 6934.014
2016-11-08 23:00 | 81632 | Good NonSpecific | 11 |  |  |  | 2016-11-08 23:00 | 6784.466
2016-12-08 23:00 | 21152 | Good NonSpecific | 12 |  |  |  | 2016-12-08 23:00 | 1384.478
8/13/2016 11:00:00 PM | 10880 | Good NonSpecific | 13 |  |  |  | 8/13/2016 11:00:00 PM | 677.4691
8/14/2016 11:00:00 PM | 56608 | Good NonSpecific | 14 |  |  |  | 8/14/2016 11:00:00 PM | 4414.545
|  |  | 15 |  |  |  |  | 4559.6002
8/16/2016 11:00:00 PM | 11008 | Good NonSpecific | 16 |  |  |  | 8/16/2016 11:00:00 PM | 676.994
8/17/2016 11:00:00 PM | 86768 | Good NonSpecific | 17 |  |  |  | 8/17/2016 11:00:00 PM | 7382.98
8/18/2016 11:00:00 PM | 64464 | Good NonSpecific | 18 |  |  |  | 8/18/2016 11:00:00 PM | 5148.239
8/19/2016 11:00:00 PM | 91312 | Good NonSpecific | 19 |  |  |  | 8/19/2016 11:00:00 PM | 7633.217
8/20/2016 11:00:00 PM | 75328 | Good NonSpecific | 20 |  |  |  | 8/20/2016 11:00:00 PM | 5877.544
8/21/2016 11:00:00 PM | 7184 | Good NonSpecific | 21 |  |  |  | 8/21/2016 11:00:00 PM | 456.4657
8/22/2016 11:00:00 PM | 79712 | Good NonSpecific | 22 |  |  |  | 8/22/2016 11:00:00 PM | 6350.388
8/23/2016 11:00:00 PM | 90000 | Good NonSpecific | 23 |  |  |  | 8/23/2016 11:00:00 PM | 7434.66
8/24/2016 11:00:00 PM | 87360 | Good NonSpecific | 24 |  |  |  | 8/24/2016 11:00:00 PM | 7177.515 |  |  | / | A | N | / | A
8/25/2016 11:00:00 PM | 39872 | Good NonSpecific | 25 |  |  |  | 8/25/2016 11:00:00 PM | 2841.459
8/26/2016 11:00:00 PM | 83344 | Good NonSpecific | 26 |  |  |  | 8/26/2016 11:00:00 PM | 7066.598
8/27/2016 11:00:00 PM | 89792 | Good NonSpecific | 27 |  |  |  | 8/27/2016 11:00:00 PM | 7444.66
8/28/2016 11:00:00 PM | 57264 | Good NonSpecific | 28 |  |  |  | 8/28/2016 11:00:00 PM | 4275.822
8/29/2016 11:00:00 PM | 79488 | Good NonSpecific | 29 |  |  |  | 8/29/2016 11:00:00 PM | 6704.189
8/30/2016 11:00:00 PM | 67296 | Good NonSpecific | 30 |  |  |  | 8/30/2016 11:00:00 PM | 4919.965
8/31/2016 11:00:00 PM | 39744 | Good NonSpecific | 31 |  |  |  | 8/31/2016 11:00:00 PM | 2860.014
| 2008272 | [6 empty] | 166.5831
| HONI | SCADA |  |  |  | SCADA Insol | SEEDs
2016-01-07 23:00 | 65413.42 | 60832 |  |  |  | 5032.864 | 5438.111
2016-02-07 23:00 | 65497.99 | 63568 |  |  |  | 4618.259 | 4771.827
2016-03-07 23:00 | 83550.38 | [5 empty] | 2272.156
2016-04-07 23:00 | 97394.27 | 95888 |  |  |  | 7958.651 | 3639.037 | 4319.614
2016-05-07 23:00 | 95545.21 | 94672 |  |  |  | 7984.564 | 5541.38
2016-06-07 23:00 | 82033.23 | 78784 |  |  |  | 6638.646 | 6884.477
2016-07-07 23:00 | 77709.68 | [5 empty] | 6268.278
2016-08-07 23:00 | 63913.79 | [5 empty] | 4130.464
2016-09-07 23:00 | 7596.47 | 5248 |  |  |  | 11586.33 | 1703.305
2016-10-07 23:00 | 30953.07 | 26736 |  |  |  | 1652.477 | 2003.886
2016-11-07 23:00 | 95112.39 | 93664 |  |  |  | 7957.245 | 8074.092
2016-12-07 23:00 | 95320.06 | 93424 |  |  |  | 7765.496 | 7931.626
7/13/2016 11:00:00 PM | 88047.2 | 86528 |  |  |  | 6623.474 | 6817.165
7/14/2016 11:00:00 PM | 58834.77 | 54848 |  |  |  | 4271.391 | 4463.884
7/15/2016 11:00:00 PM | 76917.95 | 75200 |  |  |  | 6320.82 | 6001.718
7/16/2016 11:00:00 PM | 63970.46 | 61872 |  |  |  | 4419.371 | 4324.213
7/17/2016 11:00:00 PM | 92412.95 | 90880 |  |  |  | 7820.67 | 7394.663
7/18/2016 11:00:00 PM | 67302.69 | 65248 |  |  |  | 5299.554 | 4936.78
7/19/2016 11:00:00 PM | 78549.02 | 76928 |  |  |  | 5874.096 | 5478.604
7/20/2016 11:00:00 PM | 94524.52 | 92944 |  |  |  | 7595.241 | 7077.388
7/21/2016 11:00:00 PM | 90857.14 | 88720 |  |  |  | 7324.374 | 7501.868
7/22/2016 11:00:00 PM | 75238.33 | 73488 |  |  |  | 6461.93 | 6395.73
7/23/2016 11:00:00 PM | 69732.07 | 67584 |  |  |  | 5558.943 | 5372.843
7/24/2016 11:00:00 PM | 89095.28 | 87072 |  |  |  | 7337.128 | 6986.479
7/25/2016 11:00:00 PM | 44241.17 | 40368 |  |  |  | 2587.358 | 2772.875
7/26/2016 11:00:00 PM | 79392.5 | 78096 |  |  |  | 6380.275 | 6380.275
7/27/2016 11:00:00 PM | 87290.65 | 86016 |  |  |  | 7187.615 | 7137.671
7/28/2016 11:00:00 PM | 53355.93 | 51184 |  |  |  | 3412.801 | 3318.528
7/29/2016 11:00:00 PM | 74798.08 | 73264 |  |  |  | 7156.633 | 6692.034
7/30/2016 11:00:00 PM | 80426.12 | 79200 |  |  |  | 6197.906 | 4492.941
7/31/2016 11:00:00 PM | 88357.74 | 87104 |  |  |  | 7576.45 | 5323.041
| 2313384.53 | 2029360 |  |  |  | 176.6006 | 167.5273

## 2017 Budget
2017 Budget
Production
Month
| Erie Ridge | Sandhurst | Rutley | Norfolk | HWY2 | Odessa | Unity | Alfred | Newboro 4 | Newboro 1 | Welland | Bruining
2017-01-01 | 482146.0651 | 481861.1496 | 555018.2067 | 558317.978 | 736776.9939 | 630514.6927 | 694006.944 | 776733.8226 | 1086300.3227 | 1083159.1437 | 780400.4535 | 944415.8338
2017-02-01 | 619545.8742 | 698406.0387 | 759857.9667 | 765280.6767 | 1034357.6633 | 951521.4132 | 1016259.1195 | 1053099.7895 | 1410916.1811 | 1406562.2748 | 963676.3176 | 1137814.9183
2017-03-01 | 1137388.3195 | 1322679.5929 | 1399738.3597 | 1293757.5213 | 1395499.2523 | 1361643.4322 | 1476342.0446 | 1557346.4658 | 1858595.365 | 1852568.981 | 1468177.6209 | 1818147.7383
2017-04-01 | 1365818.5023 | 1651398.6362 | 1682612.3139 | 1467028.618 | 1587145.0556 | 1542748.7162 | 1638438.7714 | 1604862.018 | 2029139.816 | 2022476.2976 | 1732252.5218 | 2014491.9864
2017-05-01 | 1793030.7716 | 2089365.5516 | 2005478.7927 | 1753888.5446 | 1859686.5748 | 1830217.4211 | 1912158.9927 | 1846318.5996 | 2143482.1184 | 2136391.4304 | 2109643.1452 | 2256977.133
2017-06-01 | 1709796.045 | 2192760.859 | 1999626.2282 | 1855925.9681 | 1896282.2558 | 1859922.5206 | 1863627.0386 | 1842439.779 | 2265576.4413 | 2257064.2405 | 2158910.8506 | 2256977.133
2017-07-01 | 1742048.1129 | 1907626.4692 | 1936380.7557 | 1773649.6318 | 1923710.7789 | 1902588.8654 | 1989810.1193 | 1947167.9349 | 2356480.1279 | 2348623.5285 | 2113672.2423 | 2235005.3558
2017-08-01 | 1503485.09 | 1555358.7342 | 1635997.9496 | 1611536.7125 | 1697284.633 | 1655338.2301 | 1857803.2041 | 1857955.0614 | 2150859.4863 | 2142806.397 | 1965179.4836 | 2080167.8714
2017-09-01 | 1220121.4375 | 1198046.5926 | 1330391.0947 | 1347743.5007 | 1458385.8605 | 1401405.1452 | 1610290.238 | 1535043.2475 | 1774370.9875 | 1768680.8636 | 1632480.518 | 1775101.161
2017-10-01 | 869565.7103 | 824760.4964 | 907243.1418 | 1038865.6308 | 1135056.9996 | 1115014.4479 | 1236594.1912 | 1165585.5865 | 1506002.2628 | 1501310.9451 | 1288503.6213 | 1438698.293
2017-11-01 | 485700.5783 | 457359.5413 | 503250.0345 | 598570.7789 | 710028.2596 | 670154.2316 | 875516.4525 | 761218.5403 | 947061.6454 | 944450.5753 | 763140.0003 | 920730.0414
2017-12-01 | 370202.922 | 344701.1249 | 403122.4325 | 488257.254 | 559397.3066 | 498319.8132 | 672652.8842 | 722404.7284 | 811911.9279 | 809803.8538 | 618406.552 | 741929.613
Insolation
Month
| Erie Ridge | Sandhurst | Rutley | Norfolk | HWY2 | Odessa | Unity | Alfred | Newboro 4 | Newboro 1 | Welland | Bruining
2017-01-01 | 66 | 61.9 | 62.5 | 65.2 | 83.4 | 73.8 | 72.6 | 80.4 | 84.4 | 84.4 | 61.7 | 82.4
2017-02-01 | 90 | 88.4 | 95.8 | 81.5 | 108 | 102.7 | 94.6 | 109.9 | 107.6 | 107.6 | 81.3 | 107
2017-03-01 | 140 | 142.9 | 145.4 | 130.4 | 142.7 | 142.9 | 145.6 | 151.3 | 146.6 | 146.6 | 123.9 | 147
2017-04-01 | 173 | 178.5 | 176.3 | 148.4 | 154.3 | 156.3 | 162.5 | 155.7 | 156.7 | 156.7 | 148.2 | 153.8
2017-05-01 | 237 | 231.8 | 217.2 | 179.5 | 182.1 | 184.8 | 180 | 172.3 | 166 | 166 | 177 | 174.2
2017-06-01 | 230 | 250.7 | 222.4 | 194 | 188.1 | 190.9 | 176.9 | 173 | 181.1 | 181.1 | 182.6 | 174.5
2017-07-01 | 238 | 254.6 | 245.5 | 189.4 | 194 | 197.8 | 190.1 | 183.5 | 185.3 | 185.2 | 187.7 | 185.7
2017-08-01 | 204 | 209.1 | 205.4 | 171.3 | 172 | 172.6 | 177 | 174.1 | 168.8 | 168.8 | 172.9 | 171.7
2017-09-01 | 161 | 156.5 | 158.5 | 138.7 | 146 | 144.3 | 150.1 | 140.7 | 133.3 | 133.2 | 139.7 | 143.2
2017-10-01 | 111 | 104.2 | 104.2 | 102.4 | 108.1 | 110.2 | 110.6 | 103.6 | 108 | 108 | 104.7 | 109.7
2017-11-01 | 64.5 | 57.7 | 57.5 | 61.2 | 67.7 | 65.4 | 79.1 | 68.1 | 67.2 | 67.2 | 62.8 | 71.6
2017-12-01 | 52.2 | 48.5 | 49.4 | 56.1 | 65.6 | 59.8 | 71.6 | 66.5 | 63.6 | 63.6 | 51.9 | 64.3