## DailyProductionReport
Daily Solar Energy Production Report
Date: | February-12-2017
Production Details for Operational Sites
[5 empty] | Budget Production |  | Month-to-Date |  | Daily Energy Production |  | Insolation | Monthly Performance
No. | Project Name | Commercial Operational Date | Capacity |  | Monthly Budget | IE POA Insolation | Total Insolation | Total Energy | Daily Expected | Daily Production | Measured POA Insolation | Actual/Budget | Actual/Expected | Weather Performance
|  |  | (kW AC) | (kW DC) | kWh | kWh/m2 | kWh/m2 | kWh | kWh | kWh | kWh/m2 | % | % | %
1 | 125 Bermondsey | 2013-04-20 | 450 | 653 | 25730.243 | 58.4 |  |  | 590.3857 | 376.73 | 1.34 | 1.03% | 31.85% | 3.23%
2 | 1935 Drew | 2013-02-07 | 150 | 162.7 | 6300.8349 | 48.5 |  |  | 167.5892 | 159.87 | 1.29 | 1.79% | 56.6% | 3.17%
3 | 1755 Brimley | 2013-09-20 | 500 | 602.91 | 19776.5048 | 57.3 |  |  | 414.1676 | 87.67 | 1.2 |  |  | 2.83%
4 | 200 Bullock | 2013-09-12 | 250 | 306.24 | 12488.7488 | 58.1 |  |  | 255.7937 | 80.62 | 1.19 | 0.45% | 16.06% | 2.82%
5 | 51 Gerry Fitzgerald | 2013-09-20 | 500 | 611.3 | 24402.4089 | 61.2 |  |  | 311.0111 | 630.49 | 0.78 |  |  | 1.89%
| TOTAL: |  | 1850 | 2336.15 | 88698.7405 | 283.5 | 0 | 0 | 1738.9473 | 1335.38 | 5.8
Note on C10: Jerick: Incorrect COD dates. I have corrected it here
Note on F10: Jerick: Incorrect Monthly Budget
Note on G10: Jerick: Incorrect IE POA Insolation. I corrected it here.
Note on H10: Jerick: This should accumulate the daily insolation
Note on I10: Jerick: Accumulate the daily production
Note on M10: Jerick: This should be reference to: Total Energy/Monthly Budget
Note on N10: Jerick: Change Formula to: Total Energy/(Monthly Budget kWH x Weather Performance %)
Note on O10: Jerick: Total Insolation/IE POA Insolation

## Sheet1
Monthly Solar Energy Production Report
Date: | 2017-02-28
Production Details for Operational Sites
[5 empty] | Energy Production |  |  | Insolation |  | Performance
No. | Project Name | Commercial Operational Date | Capacity |  | Budget | Expected | Measured Production | Measured POA Insolation | IE POA Insolation | Actual/Budget | Actual/Expected | Weather Performance | GC Performance Index
|  |  | (kW AC) | (kW DC) | (kWh) | kWh | (kWh) | kWh/m2 | kWh/m2 | % | % | % | (%)
1 | 1935 Drew | 2013-02-07 | 150 | 162.7 |  |  | 23
2 | 125 Bermondsey | 2013-04-20 | 450 | 653 |  |  | 4
3 | 1755 Brimley | 2013-09-27 | 500 | 602.91 |  |  | 5
4 | 200 Bullock | 2013-09-12 | 250 | 306.24 |  |  | 47
5 | 51 Gerry Fitzgerald | 2013-09-20 | 500 | 605.99
| TOTAL: |  | 1850 | 2330.84 | 0 | 0 | 79 | 0 | 0