|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| C:\Users\Jerick\AppData\Local\Microsoft\Windows\INetCache\Content.Word\gcstransparentLOGO.PNG | **GCS Dashboard** | |  | | |  |
| **Change text to: “Total Project Size KWAC”** | | **Change Text to: “Total Current Power”** | | Add Average Irradiance, w/m2 | **Change Text to: “Production, Performance %”** | |
|  | |  | |  |  | |

Change

Logo to this:

Change

GC PR to GC PI

Please :

This should indicate the number of inverters “running” or with Production greater than 2kW. This should show 0/0 when it is night time.

Alarm function: Should turn red if kW < 2kW and irradiance is greater than 100w/m2.

Please :

“Center”

